{"text_format":"2","workbook":"xls","n_sheets":2,"sheets":["設1面","設2面"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"設1面","index":0,"n_rows":58,"n_cols":40,"rows_kept":58,"cut":false,"hidden":false,"merged":[[42,5,42,8],[42,9,42,12],[44,18,44,28],[14,18,14,28],[51,5,51,8],[51,9,51,12],[44,5,44,8],[52,9,52,12],[27,5,27,8],[28,9,28,12],[33,9,33,12],[15,9,15,12],[48,9,48,12],[9,9,9,12],[43,1,43,4],[43,9,43,12],[40,9,40,12],[35,1,35,4],[36,1,36,4],[35,9,35,12],[37,9,37,12],[39,9,39,12],[24,9,24,12],[18,33,18,36],[21,17,21,28],[23,17,23,28],[24,5,24,8],[19,5,19,8],[16,9,16,12],[19,9,19,12],[20,5,20,8],[18,18,18,28],[21,33,21,36],[9,1,9,4],[10,1,10,4],[35,5,35,8],[34,5,34,8],[21,5,21,8],[29,5,29,8],[33,5,33,8],[52,5,52,8],[52,1,52,4],[53,1,53,4],[25,33,25,36],[26,17,26,28],[36,33,36,36],[41,21,41,28],[50,18,50,28],[46,18,46,28],[34,9,34,12],[1,0,1,12],[1,13,1,39],[7,32,7,36],[6,9,6,36],[2,0,2,12],[2,13,2,39],[7,13,7,31],[7,5,7,8],[3,0,3,12],[3,13,3,39],[54,33,54,36],[55,33,55,36],[55,1,55,4],[53,5,53,8],[53,9,53,12],[43,5,43,8],[54,9,54,12],[47,18,47,28],[54,1,54,4],[46,1,46,4],[56,5,56,8],[56,9,56,12],[54,5,54,8],[27,9,27,12],[56,1,56,4],[42,0,57,0],[57,1,57,4],[57,5,57,8],[47,1,47,4],[44,1,44,4],[8,9,8,12],[4,0,4,12],[4,13,4,39],[6,0,7,4],[6,37,6,39],[7,37,7,39],[45,9,45,12],[33,33,33,36],[8,0,41,0],[6,5,6,8],[11,1,11,4],[7,9,7,12],[32,9,32,12],[29,9,29,12],[28,5,28,8],[8,5,8,8],[44,33,44,36],[29,23,29,30],[49,18,49,28],[11,33,11,36],[9,5,9,8],[32,5,32,8],[15,5,15,8],[30,33,30,36],[27,33,27,36],[12,33,12,36]],"flags":["formulas_cached_only"]}
["設計内容説明書【一戸建ての木造住宅用】",{"$nulls":38},"（第一面）"]
["建築物の名称"]
["建築物の所在地"]
["設計者等の氏名"]
["審査員氏名"]
[]
["認定事項等",{"$nulls":4},"確認",null,null,null,"設計内容説明欄",{"$nulls":27},"設計内容"]
[{"$nulls":5},"項目",null,null,null,"項目",null,null,null,"設計内容",{"$nulls":18},"記載図書",{"$nulls":4},"確認欄"]
["構造躯体等の劣化対策","３－１",null,null,null,"外壁の",null,null,null,"外壁の構造等",null,null,null,"□","外壁通気構造等",{"$nulls":17},"□","仕上表"]
[null,"劣化対策",null,null,null,"軸組等",null,null,null,"（地面から１m）",{"$nulls":4},"□","製材、集成材等又は構造用合板等＋薬剤処理（現場処理）",{"$nulls":16},"□","矩計図"]
[null,"等級",{"$nulls":12},"□","製材、集成材等＋小径13.5㎝",{"$nulls":16},"□","伏図等"]
[null,"（構造躯体等）",{"$nulls":12},"□","製材、集成材等＋耐久性区分Ｄ1＋小径12.0㎝以上",{"$nulls":16},"□"]
[{"$nulls":14},"□","耐久性区分Ｄ１のうち、ヒノキ等の高耐久樹種",{"$nulls":16},"□"]
[null,"　　",{"$nulls":11},"□","Ｋ３以上の薬剤処理（工場処理）"]
[{"$nulls":13},"□","その他",null,null,"（","　",{"$nulls":12},"）"]
[{"$nulls":5},"土台",null,null,null,"防腐・防蟻",null,null,null,"□","土台に接する外壁下端水切り",{"$nulls":17},"□","仕上表"]
[{"$nulls":9},"処理",null,null,null,"□","Ｋ３以上の薬剤処理（工場処理）",{"$nulls":17},"□","矩計図"]
[{"$nulls":13},"□","耐久性区分Ｄ１のうち、ヒノキ等の高耐久樹種",{"$nulls":17},"□","伏図等"]
[{"$nulls":13},"□","その他",null,null,"（","　",{"$nulls":12},"）","□"]
[{"$nulls":5},"浴室・脱衣",null,null,null,"防水上の措置",null,null,null,"□","浴室",null,"□","防水上有効な仕上げ",{"$nulls":5},"□","浴室ユニット",{"$nulls":7},"□","仕上表"]
[{"$nulls":5},"室の防水",{"$nulls":10},"□","外壁軸組等の防腐措置等",{"$nulls":14},"□","平面図"]
[{"$nulls":14},"方法：",null,"（",{"$nulls":14},"）","□"]
[{"$nulls":13},"□","脱衣室",null,"□","防水上有効な仕上げ",{"$nulls":4},"□","外壁軸組等の防腐措置等"]
[{"$nulls":14},"方法：",null,"（","　",{"$nulls":13},"）"]
[{"$nulls":5},"地盤",null,null,null,"防蟻措置",null,null,null,"・","防蟻措置",{"$nulls":6},"（","□","有",null,"□","対象区域外",{"$nulls":4},"）","□","矩計図"]
[{"$nulls":14},"□","べた基礎等",null,null,null,"□","土壌処理",null,null,null,"□","その他",{"$nulls":6},"□"]
[{"$nulls":14},"方法：",null,"（","　",{"$nulls":13},"）"]
[{"$nulls":5},"基礎高さ",null,null,null,"基礎高さ",null,null,null,"□","地面から基礎上端又は土台下端までの高さが400mm以上"]
[{"$nulls":5},"床下防湿",null,null,null,"床下地盤面の",null,null,null,"□","防湿方法",null,null,"〔","□","コンクリート",null,null,null,"□","防湿フィルム",{"$nulls":6},"）","□","矩計図"]
[{"$nulls":5},"措置等",null,null,null,"防湿措置",{"$nulls":8},"□","その他",null,null,"（",{"$nulls":8},"）〕","□","伏図等"]
[{"$nulls":9},"床下換気措置",null,null,null,"□","換気措置",null,null,"〔","□","換気口",null,null,"□","ねこ土台",null,null,"□","その他",null,null,null,"〕","□"]
[{"$nulls":13},"□","基礎断熱工法"]
[{"$nulls":5},"小屋裏",null,null,null,"小屋裏換気",null,null,null,"・","小屋裏の有無",{"$nulls":8},"（","□","有",null,"□","無","）",null,null,"□","立面図"]
[{"$nulls":5},"換気",null,null,null,"の措置",null,null,null,"・","小屋裏換気設置の有無",{"$nulls":8},"（","□","有",null,"□","無","）",null,null,"□"]
[{"$nulls":5},"認定書等",null,null,null,"認定書等活用",null,null,null,"□","認定書等の活用(第二面に記入）"]
[null,"評価方法基準",null,null,null,"点検措置",null,null,null,"床下空間",null,null,null,"・","床下空間への点検口の設置",{"$nulls":17},"□","平面図"]
[null,"以外の基準",{"$nulls":12},"□","区分された床下空間ごとに点検口を設置",{"$nulls":16},"□"]
[{"$nulls":9},"小屋裏空間",null,null,null,"・","小屋裏空間への点検口の設置"]
[{"$nulls":14},"□","区分された小屋裏空間ごとに点検口を設置"]
[{"$nulls":9},"床下空間の",null,null,null,"・","床下空間の有効高さ　330mm以上",{"$nulls":8},"（","□","有",null,"□","無",null,null,"）"]
[{"$nulls":9},"有効高さ",null,null,null,"・","点検に支障のない範囲で上記寸法に満たない部分の有無"]
[{"$nulls":14},"[","□","無",null,"□","有","（",{"$nulls":10},"）]"]
["耐震性","１－１",null,null,null,"構造躯体",null,null,null,"地震力及び",null,null,null,"□","壁量計算による（階数が２以下の木造の建築物における基準）",{"$nulls":17},"□","伏図"]
[null,"耐震等級",null,null,null,"及び",null,null,null,"風圧力",null,null,null,"□","許容応力度計算による(ルート1)",{"$nulls":17},"□","計算書"]
[null,"（倒壊等防止）",null,null,null,"基礎等",{"$nulls":7},"□","その他",null,null,"（",{"$nulls":13},"）","□"]
[{"$nulls":9},"基礎",null,null,null,"□","許容応力度計算による"]
[{"$nulls":13},"□","スパン表",null,null,"（",{"$nulls":13},"）"]
[{"$nulls":13},"□","その他",null,null,"（",{"$nulls":13},"）"]
[{"$nulls":9},"横架材",null,null,null,"□","許容応力度計算による"]
[{"$nulls":13},"□","スパン表",null,null,"（",{"$nulls":13},"）"]
[{"$nulls":13},"□","その他",null,null,"（",{"$nulls":13},"）"]
[{"$nulls":9},"認定書等活用",null,null,null,"□","認定書等の活用(第二面に記入）"]
[null,"評価方法基準",null,null,null,"限界耐力",null,null,null,"安全限界変形",null,null,null,"□","限界耐力計算による"]
[null,"以外の基準",null,null,null,"計算",null,null,null,"の検討",null,null,null,"□","各階の安全限界変形の基準に適合"]
[null,"１-３その他",null,null,null,"免震",null,null,null,"免震建築物",null,null,null,"□","平成12年建設省告示第2009号第1第3号による免震建築物",{"$nulls":17},"□"]
[null,"（地震に対する",{"$nulls":11},"□","免震層及び免震材料の維持管理に関する図書の作成",{"$nulls":17},"□"]
[null,"構造躯体の",null,null,null,"認定書等",null,null,null,"認定書等活用",null,null,null,"□","認定書等の活用(第二面に記入）"]
[null,"倒壊等防止）"]

{"sheet":"設2面","index":1,"n_rows":50,"n_cols":40,"rows_kept":50,"cut":false,"hidden":false,"merged":[[37,33,37,36],[38,33,38,36],[33,33,33,36],[34,33,34,36],[35,33,35,36],[36,33,36,36],[37,5,38,8],[23,5,25,8],[32,9,32,12],[32,5,34,8],[14,0,38,0],[37,16,37,26],[32,21,32,27],[33,21,33,27],[34,21,34,27],[35,16,35,26],[29,9,29,12],[30,9,30,12],[31,19,31,28],[28,19,28,28],[28,9,28,12],[35,5,36,8],[35,9,36,12],[27,9,27,12],[17,9,19,12],[20,9,22,12],[14,5,14,8],[15,5,15,8],[16,5,16,8],[26,5,26,8],[27,5,27,8],[17,5,22,8],[41,0,41,4],[41,5,41,17],[41,18,41,29],[41,30,41,39],[46,31,47,33],[46,35,47,39],[44,0,45,4],[44,18,45,29],[44,30,45,30],[44,31,45,33],[48,0,49,4],[48,18,49,29],[48,30,49,30],[48,31,49,33],[48,35,49,39],[46,34,47,34],[48,34,49,34],[46,0,47,4],[46,18,47,29],[46,30,47,30],[44,35,45,39],[42,34,43,34],[44,34,45,34],[42,0,43,4],[42,18,43,29],[42,30,43,30],[18,15,18,19],[21,15,21,19],[15,1,15,4],[11,9,11,12],[11,33,11,36],[42,31,43,33],[42,35,43,39],[14,9,14,12],[15,9,15,12],[16,10,16,12],[16,1,16,4],[17,3,17,4],[12,5,12,8],[12,9,12,12],[13,5,13,8],[13,9,13,12],[8,1,8,4],[8,5,8,8],[8,9,8,12],[13,33,13,36],[9,5,9,8],[9,9,9,12],[9,33,9,36],[10,5,10,8],[10,9,10,12],[11,5,11,8],[6,5,6,8],[6,9,6,12],[7,1,7,4],[7,5,7,8],[7,9,7,12],[7,33,7,36],[2,37,2,39],[3,5,3,8],[3,9,3,12],[3,13,3,31],[3,32,3,36],[3,37,3,39],[2,0,3,4],[2,5,2,8],[2,9,2,36],[4,0,13,0],[4,5,4,8],[4,9,4,12],[5,1,5,4],[5,9,5,12],[5,33,5,36],[6,1,6,4],[26,14,26,19],[23,9,25,12],[20,33,20,36],[21,33,21,36],[22,33,22,36],[23,33,23,36],[26,9,26,12]],"flags":["formulas_cached_only"]}
["設計内容説明書【一戸建ての木造住宅用】",{"$nulls":38},"（第二面）"]
[]
["認定事項等",{"$nulls":4},"確認",null,null,null,"設計内容説明欄",{"$nulls":27},"設計内容"]
[{"$nulls":5},"項目",null,null,null,"項目",null,null,null,"設計内容",{"$nulls":18},"記載図書",{"$nulls":4},"確認欄"]
["維持管理・更新の容易性","４－１",null,null,null,"専用配管",null,null,null,"コンクリート",null,null,null,"□","すべての評価対象配管がコンクリート内に埋込まれていない",{"$nulls":17},"□","平面図"]
[null,"維持管理",{"$nulls":7},"内埋込み配管",{"$nulls":22},"□"]
[null,"対策等級",null,null,null,"地中",null,null,null,"埋設管上の",null,null,null,"・","地中埋設管上のコンクリート打設",{"$nulls":17},"□","配置図"]
[null,"（専用配管）",null,null,null,"埋設管",null,null,null,"ｺﾝｸﾘｰﾄ打設",null,null,null,"（","□","無",null,"□","土間コンその他のみ有",{"$nulls":6},"□","対象区域外）",{"$nulls":5},"□"]
[{"$nulls":5},"排水管の",null,null,null,"内面の仕様",null,null,null,"□","排水管内面が平滑である",{"$nulls":17},"□","仕上表"]
[{"$nulls":5},"性状等",null,null,null,"設置状態",null,null,null,"□","たわみ、抜け等が生じないよう設置",{"$nulls":17},"□"]
[{"$nulls":5},"専用",null,null,null,"排水管の",null,null,null,"□","便所、その他水廻りに必要な清掃措置の確保",{"$nulls":17},"□","平面図"]
[{"$nulls":5},"排水管",null,null,null,"清掃措置",{"$nulls":22},"□"]
[{"$nulls":5},"配管",null,null,null,"主要接合部等",null,null,null,"□","主要接合部等の点検措置等の確保",{"$nulls":17},"□","平面図"]
[{"$nulls":5},"点検口",null,null,null,"の点検措置",{"$nulls":22},"□"]
["温熱環境・エネルギー消費量","５－１",null,null,null,"適用する",null,null,null,"適用する基準",null,null,null,"□","性能基準",{"$nulls":17},"□","仕上表"]
[null,"断熱等",null,null,null,"基準",{"$nulls":7},"□","仕様基準",{"$nulls":17},"□","平面図"]
[null,"性能等級",{"$nulls":30},"□","立面図"]
[null,"（",null,"）地域",null,"性能基準を\n\n適用する場合",null,null,null,"外　皮　平　均\n熱　貫　流　率",null,null,null,"□","外皮平均熱貫流率　UA",{"$nulls":17},"□","矩計図"]
[{"$nulls":14},"(","計算書による",{"$nulls":4},"W/㎡K",null,"）",{"$nulls":9},"□","建具表"]
[{"$nulls":32},"□","計算書"]
[{"$nulls":9},"冷房期の平均\n日射熱取得率",null,null,null,"□","冷房期の平均日射熱取得率　ηAC",{"$nulls":17},"□"]
[{"$nulls":14},"(","計算書による",{"$nulls":5},"）",{"$nulls":10},"□"]
[{"$nulls":32},"□"]
[{"$nulls":5},"仕様基準を\n\n適用する場合",null,null,null,"躯　体　の\n\n断　熱",null,null,null,"□","熱貫流率の基準に適合",{"$nulls":17},"□"]
[]
[{"$nulls":13},"□","熱抵抗値の基準に適合"]
[{"$nulls":5},"結露防止",null,null,null,"繊維系断熱材",null,null,null,"・","繊維系断熱材等の使用",{"$nulls":5},"（","□","有",null,"□","無　）"]
[{"$nulls":5},"対策",null,null,null,"防湿層",null,null,null,"・","防湿層の設置",{"$nulls":5},"（","□","有",null,"□","無　）"]
[{"$nulls":9},"の設置",null,null,null,"□","除外規定適用",null,null,null,"（",{"$nulls":10},"）"]
[{"$nulls":9},"通気層",null,null,null,"・","通気層の設置",{"$nulls":5},"（","□","有",null,"□","無　）"]
[{"$nulls":9},"の設置",null,null,null,"・","防風層の設置",{"$nulls":5},"（","□","有",null,"□","無　）"]
[{"$nulls":13},"□","除外規定適用",null,null,null,"（",{"$nulls":10},"）"]
[null,"5-2",null,null,null,"基本事項",null,null,null,"居室の面積",null,null,null,"延床面積",{"$nulls":6},"（","計算書による",{"$nulls":6},"）","㎡",null,null,"□","計算書"]
[null,"一次",{"$nulls":12},"主たる居室",{"$nulls":5},"（","計算書による",{"$nulls":6},"）","㎡",null,null,"□","仕上げ表"]
[null,"エネルギー",null,null,"　",{"$nulls":9},"その他の居室",{"$nulls":5},"（","計算書による",{"$nulls":6},"）","㎡",null,null,"□","建具表"]
[null,"消費量",null,null,null,"性能基準",null,null,null,"一次エネルギー消費量",null,null,null,"□",null,"（","WEBプログラムの計算結果による",{"$nulls":12},"）",null,null,"□","計算書"]
[{"$nulls":32},"□"]
[{"$nulls":5},"設備ごとの\n仕様基準",{"$nulls":7},"□",null,"（","設備ごとの仕様基準による",{"$nulls":11},"）",null,null,null,"□","仕上げ表"]
[{"$nulls":32},"□","仕様書"]
[]
["―認定書等―"]
["性能表示事項",{"$nulls":4},"種別",{"$nulls":12},"番号",{"$nulls":11},"認定書等添付状況"]
[{"$nulls":5},"□","型式認定",null,null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式確認",null,null,null,"□","同等性証明"]
[{"$nulls":5},"□","型式認定",null,null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式確認",null,null,null,"□","同等性証明"]
[{"$nulls":5},"□","型式認定",null,null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式確認",null,null,null,"□","同等性証明"]
[{"$nulls":5},"□","型式認定",null,null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式確認",null,null,null,"□","同等性証明"]