{"text_format":"2","workbook":"xls","n_sheets":9,"sheets":["設1面","設2面","設3面","設4面【高齢者等級1】","設4面【高齢者等級2】 ","設4面【高齢者等級3】","設4面【高齢者等級4】","設4面【高齢者等級5】","設5面"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":11,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"設1面","index":0,"n_rows":63,"n_cols":46,"rows_kept":63,"cut":false,"hidden":false,"merged":[[27,22,27,23],[39,1,39,4],[33,13,33,16],[37,10,37,12],[38,1,38,4],[33,10,33,12],[32,10,32,12],[18,22,18,32],[22,13,22,16],[17,22,17,32],[19,13,19,16],[26,25,26,26],[24,18,24,20],[39,35,39,37],[14,22,14,32],[16,13,16,16],[11,22,11,32],[15,22,15,32],[12,13,12,16],[27,18,27,19],[11,35,11,37],[33,25,33,32],[33,35,33,37],[23,18,23,19],[34,25,34,32],[31,17,31,18],[23,35,23,37],[23,22,23,23],[24,29,24,30],[25,25,25,26],[29,20,29,32],[31,20,31,32],[36,27,36,28],[36,30,36,31],[35,13,35,16],[36,18,36,19],[36,21,36,22],[47,13,47,16],[37,13,37,16],[35,25,35,32],[35,22,35,23],[46,13,46,16],[1,14,1,39],[62,10,62,12],[59,13,59,16],[62,13,62,16],[58,10,58,12],[23,10,23,12],[1,0,1,13],[2,0,2,13],[3,0,3,13],[4,0,4,13],[2,14,2,39],[3,14,3,39],[4,14,4,39],[7,38,8,39],[7,13,7,37],[7,10,7,12],[8,17,8,33],[8,34,8,37],[58,1,58,4],[58,13,58,16],[38,13,38,16],[8,1,8,4],[7,5,8,6],[8,13,8,16],[7,1,7,4],[7,7,8,9],[11,1,11,4],[34,10,34,12],[51,23,51,32],[47,1,47,4],[53,1,53,4],[47,10,47,12],[55,10,55,12],[60,35,60,37],[55,35,55,37],[59,1,59,4],[59,35,59,37],[53,13,53,16],[48,35,48,37],[54,35,54,37],[57,10,57,12],[54,1,54,4],[56,13,56,16],[54,10,54,12],[56,10,56,12],[48,1,48,4],[55,13,55,16],[54,13,54,16],[22,10,22,12],[10,1,10,4],[14,1,14,4],[31,10,31,12],[8,10,8,12],[9,1,9,4],[10,10,10,12],[9,0,36,0],[46,10,46,12],[53,10,53,12],[40,1,40,4],[9,13,9,16],[10,13,10,16],[11,10,11,12],[9,10,9,12],[21,13,21,16],[52,10,52,12],[13,35,13,37],[52,13,52,16],[36,13,36,16],[37,0,62,0],[59,10,59,12],[60,10,60,12],[57,13,57,16],[38,10,38,12],[61,10,61,12],[61,13,61,16]],"flags":["formulas_cached_only"]}
["設計内容説明書【一戸建ての木造住宅用】",{"$nulls":38},"（第一面）"]
["評価対象建築物の名称"]
["評価対象建築物の所在地"]
["設計者等の氏名"]
["評価者氏名",{"$nulls":13},"評価書に記載"]
[]
[]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",{"$nulls":24},"設計\n内容\n確認欄"]
[null,"事項",{"$nulls":8},"項目",null,null,"項目",null,null,null,"設計内容",{"$nulls":16},"記載図書"]
["1構造の安定","１－１",null,null,null,"等級",{"$nulls":4},"構造躯体",null,null,"地震力及び",null,null,null,"□","壁量計算による（階数が２以下の木造の建築物における基準）",{"$nulls":15},"□","伏図"]
[null,"耐震等級",null,null,null,"□",3,"□","基準",null,"及び",null,null,"風圧力",null,null,null,"□","許容応力度計算による(ルート1)",{"$nulls":15},"□","計算書"]
[null,"（倒壊等防止）",null,null,null,"□",2,"□","特認",null,"基礎等",{"$nulls":6},"□","その他",null,null,"（",{"$nulls":11},"）","□"]
[{"$nulls":5},"□",1,"□","型式",{"$nulls":4},"基礎",null,null,null,"□","建築基準法の規定による"]
[null,"□","評価対象外",null,null,"□","-","□","認証",{"$nulls":8},"□","許容応力度計算による",{"$nulls":19},"　□"]
[null,"１－２耐震等級",null,null,null,"等級",{"$nulls":11},"□","スパン表",null,null,"（",{"$nulls":11},"）"]
[null,"（損傷防止）",null,null,null,"□",3,{"$nulls":10},"□","その他",null,null,"（",{"$nulls":11},"）"]
[null,"□","評価対象外",null,null,"□",2,{"$nulls":6},"横架材",null,null,null,"□","許容応力度計算による"]
[null,"□","非選択",null,null,"□",1,{"$nulls":10},"□","スパン表",null,null,"（",{"$nulls":11},"）"]
[{"$nulls":5},"□","-",{"$nulls":10},"□","その他",null,null,"（",{"$nulls":11},"）"]
[null,"１－３",null,null,null,"□",{"$nulls":7},"免震建築物",null,null,null,"□","平成12年建設省告示第2009号第1第3号による免震建築物"]
[null,"その他",null,null,null,"免震",{"$nulls":11},"□","免震層及び免震材料の維持管理に関する図書の作成"]
[{"$nulls":5},"□",{"$nulls":7},"認定書等活用",null,null,null,"□","認定書等の活用(第四面に記入）"]
[{"$nulls":5},"その他",{"$nulls":4},"地盤",null,null,"地盤又は杭の",null,null,null,"・許容支持力等",{"$nulls":4},"※小数点以下切り捨て",{"$nulls":11},"□","調査書"]
[null,"１－４",null,null,null,"等級",{"$nulls":4},"（１－６）",null,null,"許容支持力等",null,null,null,"□","地盤",null,null,"[",null,null,"kN/㎡]",{"$nulls":9},"□"]
[null,"耐風等級",null,null,null,"□",2,{"$nulls":10},"□","改良地盤"]
[null,"□","非選択",null,null,"□",1,{"$nulls":11},"□","許容支持力度",{"$nulls":4},"[",null,null,"kN/㎡]"]
[null,"１－５",null,null,null,"等級",{"$nulls":12},"□","許容支持力",{"$nulls":4},"[",null,null,"kN/本]",{"$nulls":10},"　□"]
[null,"耐積雪等級",null,null,null,"□",2,{"$nulls":10},"□","杭",null,null,"[",null,null,"kN/本]"]
[null,"□","該当区域外",null,null,"□",1,{"$nulls":6},"及びその設定",null,null,null,"・地盤調査方法等"]
[null,"□","非選択",null,null,"□","-",{"$nulls":6},"方法",{"$nulls":5},"（",{"$nulls":13},"）",{"$nulls":8},"基礎構造",null,"基礎形状"]
[null,"１－６地盤又は",null,null,null,"設計",{"$nulls":11},"□","地盤改良有",{"$nulls":23},"鉄筋コンクリート造",null,"布基礎"]
[null,"杭の許容支持",null,null,null,"内容",{"$nulls":11},"方法",null,"（",{"$nulls":13},"）",{"$nulls":8},"無筋コンクリート造等",null,"べた基礎"]
[null,"力等及びその",null,null,null,"説明欄",{"$nulls":4},"基礎",null,null,"基礎の構造方",null,null,null,"□","直接基礎",{"$nulls":14},"）","□","伏図"]
[null,"設定方法",null,null,null,"と同様",{"$nulls":4},"（１－７）",null,null,"法及び形式等",null,null,null,"・","基礎の構造方法",{"$nulls":5},"（",{"$nulls":8},"）","□"]
[null,"１－７基礎の構",{"$nulls":15},"・","基礎の形式",{"$nulls":5},"（",{"$nulls":8},"）",{"$nulls":4},"　□"]
[null,"造方法及び形",{"$nulls":15},"□","杭基礎",null,null,null,"杭種",null,"（",{"$nulls":8},"）"]
[null,"式等",{"$nulls":16},"杭径",null,"[",null,null,"cm]",null,null,null,"杭長",null,"[",null,null,"m]"]
["２火災時の安全","２－１",null,null,null,"等級",{"$nulls":4},"感知警報",null,null,"感知部分の",null,null,null,"・種類",{"$nulls":16},"□","仕上表",{"$nulls":5},"設置場所","等級４","等級３","等級２","等級１"]
[null,"感知警報装",null,null,null,"□",4,"□","基準",null,"装置",null,null,"設置場所等",{"$nulls":4},"□","住宅用防災報知設備",{"$nulls":14},"□","平面図",{"$nulls":5},"全ての台所","●","●","●","－"]
[null,"置設置等級",null,null,null,"□",3,"□","特認",{"$nulls":9},"□","住宅用防災警報器",{"$nulls":14},"□",null,null,null,"　□",null,null,"全ての居室","●","●","－","－"]
[null,"（自住戸火災",null,null,null,"□",2,"□","型式",{"$nulls":8},"・","基準に適合した感知部分の設置場所",{"$nulls":22},"階段","●","●","－","－"]
[null,"　時）",null,null,null,"□",1,"□","認証",{"$nulls":9},"□","寝室",null,null,"□","居室",null,null,"□","台所等",null,null,"□","階段等",{"$nulls":9},"全ての寝室","－","－","●","●"]
[null,"□","非選択",{"$nulls":14},"・","警報を行う部分",{"$nulls":22},"階段(必要箇所)","－","－","●","●"]
[{"$nulls":17},"（","□","警報音70ｄＢ以上",{"$nulls":4},"□","警報音85ｄＢ以上",{"$nulls":4},"□","その他",null,"）",{"$nulls":7},"※等級４については原則、自動火災報知設備及び住宅用防災報知設備"]
[{"$nulls":17},"（","□","150㎡毎設置",{"$nulls":4},"□","350㎡毎設置",{"$nulls":4},"□","その他",null,"）"]
[{"$nulls":17},"（","□","各階（居室を有する階に限る）ごとに設置",{"$nulls":13},"）"]
[null,"２－４",null,null,null,"設計",{"$nulls":4},"脱出対策",null,null,"避難器具",null,null,null,"□","直通階段に直接通ずるバルコニー",{"$nulls":15},"□","仕上表"]
[null,"脱出対策",null,null,null,"内容",null,"□","基準",null,"（３階以上）",null,null,"の種類",null,null,null,"□","避難器具",null,null,null,"（","□","避難ロープ",{"$nulls":4},"□","避難はしご",null,null,null,"□","平面図"]
[null,"（火災時）",null,null,null,"説明欄",null,"□","特認",{"$nulls":14},"□","避難用タラップ",{"$nulls":4},"□","避難橋",null,null,null,"□",null,null,null,"　□"]
[null,"□","該当なし",null,null,"と同様",null,"□","型式",{"$nulls":14},"□","滑り棒",{"$nulls":4},"□","滑り台"]
[null,"□","非選択",{"$nulls":4},"□","認証",{"$nulls":14},"□","緩降機",{"$nulls":4},"□","救助袋",null,null,"）"]
[{"$nulls":17},"□","その他",null,null,null,"（",{"$nulls":10},"）"]
[null,"２－５耐火等級",null,null,null,"等級",{"$nulls":4},"開口部の",null,null,"防火設備",null,null,null,"・","外壁の開口部の耐火性能",{"$nulls":15},"□","仕上表"]
[null,"（延焼のおそれの",null,null,null,"□",3,"□","基準",null,"耐火性能",null,null,"の仕様等",{"$nulls":6},"耐火時間",null,null,"（","□","60分以上",null,null,null,"□","20分以上",null,null,null,"□","建具表"]
[null,"ある部分・開口部）",null,null,null,"□",2,"□","特認",null,"（耐火性能",{"$nulls":18},"□","その他",null,null,"）","□",null,null,null,"　□"]
[null,"□","該当なし",null,null,"□",1,"□","型式",null,"が最も低"]
[null,"□","非選択",null,null,"□","-","□","認証",null,"いもの）",null,null,"認定書等活用",null,null,null,"□","認定書等の活用(第四面に記入）"]
[null,"２－６耐火等級",null,null,null,"等級",{"$nulls":4},"外壁・軒裏",null,null,"外壁の構造等",null,null,null,"・","外壁の耐火時間",{"$nulls":4},"（","□","60分以上",null,null,null,"□","45分以上",null,null,null,"□","仕上表"]
[null,"（延焼のおそれの",null,null,null,"□",4,"□","基準",null,"の構造",{"$nulls":13},"□","20分以上",null,null,null,"□","その他",null,null,"）","□","矩計図"]
[null,"ある部分・開口部以外）",null,null,null,"□",3,"□","特認",null,"（耐火性能",null,null,"軒裏の構造等",null,null,null,"・","軒裏の耐火時間",{"$nulls":4},"（","□","60分以上",null,null,null,"□","45分以上",null,null,null,"□",null,null,null,"　□"]
[null,"□","該当なし",null,null,"□",2,"□","型式",null,"が最も低",{"$nulls":13},"□","20分以上",null,null,null,"□","その他",null,null,"）"]
[null,"□","非選択",null,null,"□",1,"□","認証",null,"いもの）",null,null,"認定書等活用",null,null,null,"□","認定書等の活用(第四面に記入）"]
[{"$nulls":5},"□","-"]

{"sheet":"設2面","index":1,"n_rows":48,"n_cols":40,"rows_kept":48,"cut":false,"hidden":false,"merged":[[38,0,47,0],[38,10,38,12],[47,10,47,12],[45,10,45,12],[45,13,45,16],[45,35,45,37],[46,10,46,12],[46,13,46,16],[47,35,47,37],[47,13,47,16],[42,10,42,12],[42,13,42,16],[43,10,43,12],[43,13,43,16],[43,35,43,37],[44,10,44,12],[44,13,44,16],[40,13,40,16],[38,13,38,16],[39,1,39,4],[41,1,41,4],[41,10,41,12],[41,13,41,16],[2,1,2,4],[2,5,3,6],[2,7,3,9],[2,10,2,12],[40,1,40,4],[40,10,40,12],[37,10,37,12],[2,13,2,37],[39,13,39,16],[39,35,39,37],[41,35,41,37],[2,38,3,39],[3,1,3,4],[3,10,3,12],[3,13,3,16],[3,17,3,33],[3,34,3,37],[4,0,34,0],[4,10,4,12],[4,13,4,16],[5,1,5,4],[5,10,5,12],[5,13,5,16],[6,1,6,4],[7,1,7,4],[30,10,30,12],[30,13,30,16],[7,35,7,37],[10,22,10,32],[11,10,11,12],[11,13,11,16],[12,13,12,16],[14,22,14,32],[14,35,14,37],[18,35,18,37],[22,10,22,12],[22,13,22,16],[24,10,24,12],[24,21,24,32],[24,35,24,37],[26,22,26,26],[26,28,26,32],[27,10,27,12],[27,13,27,16],[28,35,28,37],[29,21,29,32],[30,35,30,37],[31,10,31,12],[31,13,31,16],[32,10,32,12],[32,13,32,16],[32,27,32,32],[37,13,37,16],[33,35,33,37],[35,10,35,12],[35,13,35,16],[36,10,36,12],[36,13,36,16],[36,35,36,37]],"flags":["formulas_cached_only"]}
["設計内容説明書【一戸建ての木造住宅用】",{"$nulls":38},"（第二面）"]
[]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",{"$nulls":24},"設計\n内容\n確認欄"]
[null,"事項",{"$nulls":8},"項目",null,null,"項目",null,null,null,"設計内容",{"$nulls":16},"記載図書"]
["３劣化の軽減","３－１",null,null,null,"等級",{"$nulls":4},"外壁の",null,null,"外壁の構造等",null,null,null,"□","外壁通気構造等",{"$nulls":15},"□","仕上表"]
[null,"劣化対策",null,null,null,"□",3,"□","基準",null,"軸組等",null,null,"（地面から１m）",{"$nulls":4},"□","製材、集成材等又は構造用合板等＋薬剤処理（現場処理）",{"$nulls":14},"□","矩計図"]
[null,"等級",null,null,null,"□",2,"□","特認",{"$nulls":9},"□","製材、集成材等＋小径13.5㎝",{"$nulls":14},"□","伏図等"]
[null,"（構造躯体等）",null,null,null,"□",1,"□","型式",{"$nulls":9},"□","製材、集成材等＋耐久性区分Ｄ1＋小径12.0㎝以上",{"$nulls":14},"□"]
[{"$nulls":7},"□","認証",{"$nulls":9},"□","耐久性区分Ｄ１のうち、ヒノキ等の高耐久樹種",{"$nulls":18},"　□"]
[null,"　　",{"$nulls":15},"□","Ｋ３以上の薬剤処理（工場処理）"]
[{"$nulls":17},"□","その他",null,null,"（","　",{"$nulls":10},"）"]
[{"$nulls":10},"土台",null,null,"防腐・防蟻",null,null,null,"□","土台に接する外壁下端水切り",{"$nulls":15},"□","仕上表"]
[{"$nulls":13},"処理",null,null,null,"□","Ｋ３以上の薬剤処理（工場処理）",{"$nulls":15},"□","矩計図"]
[{"$nulls":17},"□","耐久性区分Ｄ１のうち、ヒノキ等の高耐久樹種",{"$nulls":15},"□","伏図等"]
[{"$nulls":17},"□","その他",null,null,"（","　",{"$nulls":10},"）","□"]
[{"$nulls":10},"直交集成板を用いる場合",{"$nulls":6},"以下のいずれにも適合",{"$nulls":16},"□","仕上表"]
[{"$nulls":17},"（適合の場合、土台の基準に適合していることを要しない）",{"$nulls":16},"□","伏図等"]
[{"$nulls":17},"□","基礎と接する直交集成板が、外壁の構造等（地面からの高さ1ｍ以内）",{"$nulls":15},"□","矩計図"]
[{"$nulls":18},"及び土台の基準に掲げるものと同等の劣化の軽減に有効な措置",{"$nulls":15},"□"]
[{"$nulls":17},"□","基礎と接する直交集成板の外壁側面下端の水切りが設けられている"]
[{"$nulls":17},"□","当該直交集成板と基礎との間に防水上有効な措置"]
[{"$nulls":17},"□","室内から床下への漏気による水蒸気の供給を遮断するための措置"]
[{"$nulls":10},"浴室・脱衣",null,null,"防水上の措置",null,null,null,"□","浴室",null,"□","防水上有効な仕上げ",{"$nulls":5},"□","浴室ユニット",{"$nulls":5},"□","仕上表"]
[{"$nulls":10},"室の防水",{"$nulls":9},"□","外壁軸組等の防腐措置等",{"$nulls":12},"□","平面図"]
[{"$nulls":18},"方法：",null,"（",{"$nulls":12},"）","□"]
[{"$nulls":17},"□","脱衣室",null,"□","防水上有効な仕上げ",{"$nulls":4},"□","外壁軸組等の防腐措置等"]
[{"$nulls":18},"方法：",null,"（","床",{"$nulls":5},"壁",{"$nulls":5},"）"]
[{"$nulls":10},"地盤",null,null,"防蟻措置",null,null,null,"・","防蟻措置",{"$nulls":6},"（","□","有",null,"□","対象区域外）",null,null,null,"□","矩計図"]
[{"$nulls":18},"□","べた基礎等",null,null,null,"□","土壌処理",null,null,null,"□","その他",{"$nulls":4},"□"]
[{"$nulls":18},"方法：",null,"（",{"$nulls":12},"）"]
[{"$nulls":10},"基礎高さ",null,null,"基礎高さ",null,null,null,"□","地面から基礎上端又は土台下端までの高さが400mm以上"]
[{"$nulls":10},"床下防湿",null,null,"床下地盤面の",null,null,null,"□","防湿方法",null,null,"〔","□","コンクリート",null,null,null,"□","防湿フィルム",{"$nulls":5},"□","矩計図"]
[{"$nulls":10},"措置等",null,null,"防湿措置",{"$nulls":8},"□","その他",null,null,"（",{"$nulls":6},"）〕","□","伏図等"]
[{"$nulls":13},"床下換気措置",null,null,null,"□","換気措置",null,null,"〔","□","換気口",null,null,"□","ねこ土台",null,null,"□","その他",null,"〕","□"]
[{"$nulls":17},"□","基礎断熱工法"]
[{"$nulls":10},"小屋裏",null,null,"小屋裏換気",null,null,null,"・","小屋裏の有無",{"$nulls":8},"（","□","有",null,"□","無","）","□","立面図"]
[{"$nulls":10},"換気",null,null,"の措置",null,null,null,"・","小屋裏換気設置の有無",{"$nulls":8},"（","□","有",null,"□","無","）","□"]
[{"$nulls":10},"認定書等",null,null,"認定書等活用",null,null,null,"□","認定書等の活用(第四面に記入）"]
["４維持管理・更新への配慮","４－１",null,null,null,"等級",{"$nulls":4},"専用配管",null,null,"コンクリート",null,null,null,"□","すべての評価対象配管がコンクリート内に埋込まれていない",{"$nulls":15},"□","平面図"]
[null,"維持管理",null,null,null,"□",3,"□","基準",{"$nulls":4},"内埋込み配管",{"$nulls":20},"□"]
[null,"対策等級",null,null,null,"□",2,"□","特認",null,"地中",null,null,"埋設管上の",null,null,null,"・","地中埋設管上のコンクリート打設",{"$nulls":15},"□","配置図"]
[null,"（専用配管）",null,null,null,"□",1,"□","型式",null,"埋設管",null,null,"ｺﾝｸﾘｰﾄ打設",null,null,null,"（","□","無",null,"□","土間コンその他のみ有",{"$nulls":6},"□","対象区域外）",null,null,null,"□"]
[{"$nulls":7},"□","認証",null,"排水管の",null,null,"内面の仕様",null,null,null,"□","排水管内面が平滑である",{"$nulls":15},"□","仕上表",null,null,"　□"]
[{"$nulls":10},"性状等",null,null,"設置状態",null,null,null,"□","たわみ、抜け等が生じないよう設置",{"$nulls":15},"□"]
[{"$nulls":10},"専用",null,null,"排水管の",null,null,null,"□","便所、その他水廻りに必要な清掃措置の確保",{"$nulls":15},"□","平面図"]
[{"$nulls":10},"排水管",null,null,"清掃措置",{"$nulls":20},"□"]
[{"$nulls":10},"配管",null,null,"主要接合部等",null,null,null,"□","主要接合部等の点検措置等の確保",{"$nulls":15},"□","平面図"]
[{"$nulls":10},"点検口",null,null,"の点検措置",{"$nulls":20},"□"]

{"sheet":"設3面","index":2,"n_rows":45,"n_cols":40,"rows_kept":45,"cut":false,"hidden":false,"merged":[[27,35,27,37],[30,26,30,28],[30,29,30,32],[31,18,31,24],[32,13,32,16],[33,10,38,12],[25,10,32,12],[25,13,31,16],[25,18,25,21],[25,26,25,28],[25,29,25,32],[26,1,27,4],[27,26,27,28],[27,29,27,32],[21,13,21,16],[21,23,21,32],[21,35,21,37],[22,13,22,16],[23,13,23,16],[24,23,24,32],[13,35,13,37],[16,15,18,16],[13,15,15,16],[8,19,8,23],[9,2,9,4],[9,10,9,12],[10,15,12,16],[11,19,11,23],[13,13,18,14],[7,3,7,4],[7,10,7,12],[7,13,12,14],[7,15,9,16],[8,10,8,12],[19,10,19,12],[19,13,19,16],[39,17,44,17],[39,18,44,33],[4,0,44,0],[4,10,4,12],[4,13,4,16],[4,38,24,39],[5,1,5,4],[5,10,5,12],[5,13,5,16],[6,1,6,4],[2,10,2,12],[33,17,38,17],[33,18,38,33],[35,35,35,37],[36,35,36,37],[37,35,37,37],[38,35,38,37],[6,14,6,16],[20,10,20,12],[20,13,20,16],[2,13,2,37],[2,38,3,39],[3,1,3,4],[3,10,3,12],[3,13,3,16],[3,17,3,33],[3,34,3,37],[2,1,2,4],[2,5,3,6],[2,7,3,9]],"flags":["formulas_cached_only"]}
["設計内容説明書【一戸建ての木造住宅用】",{"$nulls":38},"（第三面）"]
[]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",{"$nulls":24},"評価員\n確認欄"]
[null,"事項",{"$nulls":8},"項目",null,null,"項目",null,null,null,"設計内容",{"$nulls":16},"記載図書"]
["５温熱環境・エネルギー消費量","５－１",null,null,null,"等級",{"$nulls":4},"適用する",null,null,"適用する基準",null,null,null,"□","性能基準",{"$nulls":19},"　□"]
[null,"断熱等",null,null,null,"□",7,"□","基準",null,"基準"]
[null,"性能等級",null,null,null,"□",6,"□","特認",{"$nulls":8},"□","仕様基準"]
[null,"（",null,"）地域",null,"□",5,"□","型式",null,"躯体・開口",null,null,"性能基準を適用する場合",null,"外皮平均熱貫流率",null,"□","外皮平均熱貫流率　UA",{"$nulls":15},"□","仕上表"]
[{"$nulls":5},"□",4,"□","認証",null,"部の断熱",{"$nulls":7},"(","計算書による",{"$nulls":4},"W/㎡K",null,"）",{"$nulls":7},"□","平面図"]
[{"$nulls":5},"□",3,null,null,null,"性能等",{"$nulls":8},"□","UAの値を評価書に記載する　",{"$nulls":7},"（等級7のみ）",{"$nulls":5},"□","立面図"]
[{"$nulls":5},"□",2,{"$nulls":8},"冷房期の平均日射熱取得率",null,"□","冷房期の平均日射熱取得率　ηAC",{"$nulls":15},"□","矩計図"]
[{"$nulls":5},"□",1,{"$nulls":11},"(","計算書による",{"$nulls":5},"）",{"$nulls":8},"□","建具表"]
[{"$nulls":19},"□","ηACの値を評価書に記載する　",{"$nulls":7},"（等級7のみ）",{"$nulls":5},"□","計算書"]
[{"$nulls":13},"仕様基準を適用する場合",null,"躯体の断熱",null,"□","熱貫流率の基準に適合",{"$nulls":15},"□"]
[]
[{"$nulls":17},"□","熱抵抗値の基準に適合"]
[{"$nulls":15},"開口部の断熱性能等",null,"□","開口部の断熱性能等に関する基準に適合"]
[{"$nulls":18},"□","緩和措置有り"]
[{"$nulls":19},"□","窓の断熱（2％緩和）",{"$nulls":5},"□","窓の日射（4％緩和）"]
[{"$nulls":10},"結露防止",null,null,"繊維系断熱材",null,null,null,"・","繊維系断熱材等の使用",{"$nulls":5},"（","□","有",null,"□","無　）",{"$nulls":4},"□","仕上表"]
[{"$nulls":10},"対策",null,null,"防湿層",null,null,null,"・","防湿層の設置",{"$nulls":5},"（","□","有",null,"□","無　）",{"$nulls":4},"□","矩計図"]
[{"$nulls":13},"の設置",null,null,null,"□","除外規定適用",null,null,null,"（",{"$nulls":10},"）","□"]
[{"$nulls":13},"通気層",null,null,null,"・","通気層の設置",{"$nulls":5},"（","□","有",null,"□","無　）"]
[{"$nulls":13},"の設置",null,null,null,"・","防風層の設置",{"$nulls":5},"（","□","有",null,"□","無　）"]
[{"$nulls":17},"□","除外規定適用",null,null,null,"（",{"$nulls":10},"）"]
[null,"５－２",null,null,null,"等級",{"$nulls":4},"基本的\n事項等",null,null,"適用する\n基準",null,null,null,"□","性能基準",{"$nulls":15},"□","仕上表"]
[null,"一次ｴﾈﾙｷﾞｰ\n消費量",null,null,null,"□",8,"□","基準",{"$nulls":9},"□","設計一次エネルギー消費量の値を評価書に記載する",{"$nulls":14},"□","矩計図"]
[{"$nulls":5},"□",7,"□","特認",{"$nulls":10},"　（等級6、7、8のみ）",{"$nulls":5},"（",null,null,null,"MJ/（㎡・年）",null,null,null,"）","□"]
[null,"（",0,"）地域",null,"□",6,"□","型式",{"$nulls":9},"□","設計一次エネルギー消費量の削減率を評価書に記載する"]
[{"$nulls":5},"□",5,"□","認証",{"$nulls":10},"□","売電分を含める",{"$nulls":4},"□","売電分を除く（自家消費のみ）"]
[{"$nulls":5},"□",4,{"$nulls":18},"（",null,null,null,"％",null,null,null,"）"]
[{"$nulls":5},"□",1,{"$nulls":10},"□","仕様基準"]
[{"$nulls":13},"居室の面積",null,null,null,"□","Ｗebプログラム出力表による",{"$nulls":19},"　□"]
[{"$nulls":10},"性能基準",null,null,"暖房方式",null,null,null,"□","Ｗebプログラム出力表による",{"$nulls":15},"□","仕上表"]
[{"$nulls":13},"冷房方式",{"$nulls":20},"□","矩計図"]
[{"$nulls":13},"換気設備",{"$nulls":20},"□","機器表"]
[{"$nulls":13},"給湯設備",{"$nulls":20},"□","Web出力表"]
[{"$nulls":13},"照明",{"$nulls":20},"□","ﾁｪｯｸﾘｽﾄ"]
[{"$nulls":13},"発電",{"$nulls":20},"□"]
[{"$nulls":10},"仕様基準",null,null,"暖房方式",null,null,null,"□","仕様基準チェックリストによる"]
[{"$nulls":13},"冷房方式"]
[{"$nulls":13},"換気設備"]
[{"$nulls":13},"給湯設備"]
[{"$nulls":13},"照明設備"]
[{"$nulls":13},"給湯熱源機"]

{"sheet":"設4面【高齢者等級1】","index":3,"n_rows":33,"n_cols":40,"rows_kept":33,"cut":false,"hidden":false,"merged":[[26,19,26,20],[21,0,26,0],[22,1,22,4],[25,17,25,18],[27,0,33,0],[33,10,33,16],[31,10,31,16],[29,10,29,16],[30,10,30,16],[29,1,29,4],[24,31,24,32],[25,31,25,32],[24,22,24,23],[28,35,28,37],[24,28,24,29],[25,28,25,29],[25,26,25,27],[28,18,28,33],[27,18,27,33],[25,22,25,23],[26,22,26,23],[2,7,3,9],[8,10,8,12],[10,10,10,12],[8,13,8,16],[9,13,9,16],[13,10,13,12],[24,19,24,20],[24,17,24,18],[25,19,25,20],[6,1,6,4],[19,13,19,16],[24,35,24,37],[15,10,15,12],[16,10,16,12],[2,10,2,12],[2,13,2,37],[7,1,8,4],[4,13,4,16],[24,26,24,27],[2,5,3,6],[2,1,2,4],[4,0,12,0],[5,10,5,12],[6,10,6,12],[4,10,4,12],[3,1,3,4],[3,10,3,12],[9,10,9,12],[5,1,5,4],[2,38,3,39],[13,13,13,16],[3,13,3,16],[3,17,3,33],[3,34,3,37],[6,35,6,37],[22,10,22,16],[24,10,24,16],[25,10,25,16],[28,11,28,16],[17,13,17,16],[21,10,21,16],[27,10,27,16],[28,1,28,4],[14,35,14,37],[22,28,22,30],[31,18,31,33],[32,35,32,37],[29,35,29,37],[32,11,32,16],[31,35,31,37],[30,18,30,33],[26,17,26,18],[20,27,20,29],[19,27,19,29],[15,13,15,16],[16,35,16,37],[15,27,15,29],[16,27,16,29],[17,27,17,29],[18,27,18,29]],"flags":["formulas_cached_only"]}
["設計内容説明書【一戸建ての木造住宅用】",{"$nulls":38},"（第四面）"]
[]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",{"$nulls":24},"設計\n内容\n確認欄"]
[null,"事項",{"$nulls":8},"項目",null,null,"項目",null,null,null,"設計内容",{"$nulls":16},"記載図書"]
["６空気環境","６－１",null,null,null,"設計",{"$nulls":4},"居室の",null,null,"使用建材",null,null,null,"・","□","製材等",null,null,null,"□","特定建材",null,null,null,"□","その他の建材",{"$nulls":4},"□","仕上表"]
[null,"ホルムアル",null,null,null,"内容",null,"□","基準",null,"内装の",null,null,"ホルムアルデ",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材",{"$nulls":15},"□","建材表",null,null,"評価員"]
[null,"デヒド対策",null,null,null,"説明欄",null,"□","特認",null,"仕上げ材",null,null,"ヒド発散等級",{"$nulls":4},"□","F☆☆☆☆",null,null,null,"□","F☆☆☆",null,null,null,"□","F☆☆",{"$nulls":4},"□",null,null,null,"記入欄"]
[null,"（内装及び天井裏等）",null,null,null,"と同様",null,"□","型式",{"$nulls":4},"□","該当なし",{"$nulls":4},"（等級3）",{"$nulls":4},"（等級2）",{"$nulls":4},"（等級1）"]
[{"$nulls":7},"□","認証",null,"天井裏",null,null,"措置方法",null,null,null,"・","□","換気又は気密措置による",{"$nulls":8},"□","使用建材による",{"$nulls":8},"　□"]
[null,"□","非選択",{"$nulls":7},"等の下",null,null,"使用建材",null,null,null,"・","□","製材等",null,null,null,"□","特定建材",null,null,null,"□","その他の建材"]
[{"$nulls":10},"地材等",null,null,"ホルムアルデ",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材"]
[{"$nulls":13},"ヒド発散等級",{"$nulls":4},"□","F☆☆☆☆",null,null,null,"□","F☆☆☆"]
[{"$nulls":13},"□","該当なし",{"$nulls":4},"（等級3）",{"$nulls":4},"（等級2）"]
[null,"６－２",null,null,null,"設計",{"$nulls":4},"換気対策",null,null,"種類",null,null,null,"・","□","機械換気設備",null,null,null,"□","その他",{"$nulls":9},"□","平面図"]
[null,"換気対策",null,null,null,"内容",null,"□","基準",{"$nulls":25},"□",null,null,null,"評価員"]
[{"$nulls":5},"説明欄",null,"□","特認",null,"局所換気",null,null,"便所",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）","□","平面図",null,null,"記入欄"]
[null,"□","非選択",null,null,"と同様",null,"□","型式",null,"対策",null,null,"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）","□"]
[{"$nulls":7},"□","認証",{"$nulls":4},"浴室",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）",{"$nulls":4},"　□"]
[{"$nulls":13},"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
[{"$nulls":13},"台所",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
[{"$nulls":13},"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
["７光・視環境","７－１",null,null,null,"設計",{"$nulls":4},"居室床面積に対する",{"$nulls":6},"・","単純開口率",{"$nulls":15},"□","平面図"]
[null,"単純開口率",null,null,null,"内容",null,"□","基準",null,"開口部の割合",{"$nulls":16},"（",null,null,null,"％以上",null,"）","□","建具表",null,null,"評価員"]
[null,"□","非選択",{"$nulls":4},"□","特認"]
[null,"７－２",null,null,null,"説明欄",null,"□","型式",null,"方位別開口部の",{"$nulls":6},"北面（",null,null,null,"％","",null,"）",null,"東面（",null,null,null,"％","",null,"）","□",null,null,null,"記入欄"]
[null,"方位別開口比",null,null,null,"と同様",null,"□","認証",null,"面積合計の比",{"$nulls":6},"南面（",null,null,null,"％","",null,"）",null,"西面（",null,null,null,"％","",null,"）",{"$nulls":4},"□"]
[null,"□","非選択",{"$nulls":14},"真上（",null,null,null,"％","",null,"）"]
["９高齢者等への配慮","９－１",null,null,null,"等級１",{"$nulls":4},"階段",{"$nulls":6},"□","建築基準法施行令第23条から第27条までに定める基準に適合",{"$nulls":15},"□","平面図"]
[null,"高齢者等配",{"$nulls":5},"□","基準",null,"□","階段無",{"$nulls":22},"□",null,null,null,"評価員"]
[null,"慮対策等級",{"$nulls":5},"□","特認",{"$nulls":25},"□",null,null,null,"記入欄"]
[null,"（専用部分）",{"$nulls":5},"□","型式",null,"手摺",{"$nulls":6},"□","建築基準法施行令第126条第１項に定める基準に適合",{"$nulls":15},"□","立面図",null,null,"□"]
[null,"□","非選択",{"$nulls":4},"□","認証",null,"（ﾊﾞﾙｺﾆｰ等）",{"$nulls":6},"□","建築基準法施行令第117条により適用除外",{"$nulls":15},"□"]
[{"$nulls":10},"□","ﾊﾞﾙｺﾆｰ等無",{"$nulls":22},"□"]

{"sheet":"設4面【高齢者等級2】 ","index":4,"n_rows":48,"n_cols":40,"rows_kept":48,"cut":false,"hidden":false,"merged":[[2,1,2,4],[2,5,3,6],[2,7,3,9],[2,10,2,12],[2,13,2,37],[2,38,3,39],[3,1,3,4],[3,10,3,12],[3,13,3,16],[3,17,3,33],[3,34,3,37],[4,0,12,0],[4,10,4,12],[4,13,4,16],[5,1,5,4],[5,10,5,12],[6,1,6,4],[6,10,6,12],[6,35,6,37],[7,1,8,4],[8,10,8,12],[8,13,8,16],[9,10,9,12],[9,13,9,16],[10,10,10,12],[13,10,13,12],[13,13,13,16],[14,35,14,37],[15,10,15,12],[15,13,15,16],[16,10,16,12],[16,35,16,37],[17,13,17,16],[15,27,15,29],[16,27,16,29],[17,27,17,29],[19,13,19,16],[21,0,26,0],[21,10,21,16],[22,1,22,4],[22,10,22,16],[22,28,22,30],[24,10,24,16],[24,17,24,18],[24,19,24,20],[24,22,24,23],[24,26,24,27],[24,28,24,29],[24,31,24,32],[24,35,24,37],[25,10,25,16],[25,17,25,18],[25,19,25,20],[25,22,25,23],[25,26,25,27],[25,28,25,29],[26,22,26,23],[27,0,37,0],[27,10,27,12],[27,13,27,16],[27,22,27,23],[27,27,27,32],[28,1,28,4],[33,24,33,28],[33,30,33,33],[28,10,28,12],[28,13,28,16],[28,35,28,37],[29,1,29,4],[30,10,30,12],[30,13,30,16],[29,18,29,19],[33,19,33,22],[35,10,35,12],[37,35,37,37],[39,13,39,16],[40,10,40,12],[40,13,40,16],[37,13,37,16],[36,14,36,16],[38,14,38,16],[36,35,36,37],[41,35,41,37],[42,13,42,16],[43,13,43,16],[44,13,44,16],[42,35,42,37],[43,35,43,37],[34,13,34,16],[46,22,46,24],[46,26,46,28],[36,17,36,33],[47,25,47,27],[42,29,42,33],[43,29,43,33],[45,29,45,33],[35,13,35,16],[46,17,46,19],[18,27,18,29],[19,27,19,29],[20,27,20,29],[31,13,31,16],[31,35,31,37],[32,13,32,16],[32,35,32,37],[25,31,25,32],[26,17,26,18],[26,19,26,20]],"flags":["formulas_cached_only"]}
["設計内容説明書【一戸建ての木造住宅用】",{"$nulls":38},"（第四面）"]
[]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",{"$nulls":24},"設計\n内容\n確認欄"]
[null,"事項",{"$nulls":8},"項目",null,null,"項目",null,null,null,"設計内容",{"$nulls":16},"記載図書"]
["６空気環境","６－１",null,null,null,"設計",{"$nulls":4},"居室の",null,null,"使用建材",null,null,null,"・","□","製材等",null,null,null,"□","特定建材",null,null,null,"□","その他の建材",{"$nulls":4},"□","仕上表"]
[null,"ホルムアル",null,null,null,"内容",null,"□","基準",null,"内装の",null,null,"ホルムアルデ",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材",{"$nulls":15},"□","建材表",null,null,"評価員"]
[null,"デヒド対策",null,null,null,"説明欄",null,"□","特認",null,"仕上げ材",null,null,"ヒド発散等級",{"$nulls":4},"□","F☆☆☆☆",null,null,null,"□","F☆☆☆",null,null,null,"□","F☆☆",{"$nulls":4},"□",null,null,null,"記入欄"]
[null,"（内装及び天井裏等）",null,null,null,"と同様",null,"□","型式",{"$nulls":4},"□","該当なし",{"$nulls":4},"（等級3）",{"$nulls":4},"（等級2）",{"$nulls":4},"（等級1）"]
[{"$nulls":7},"□","認証",null,"天井裏",null,null,"措置方法",null,null,null,"・","□","換気又は気密措置による",{"$nulls":8},"□","使用建材による",{"$nulls":8},"　□"]
[null,"□","非選択",{"$nulls":7},"等の下",null,null,"使用建材",null,null,null,"・","□","製材等",null,null,null,"□","特定建材",null,null,null,"□","その他の建材"]
[{"$nulls":10},"地材等",null,null,"ホルムアルデ",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材"]
[{"$nulls":13},"ヒド発散等級",{"$nulls":4},"□","F☆☆☆☆",null,null,null,"□","F☆☆☆"]
[{"$nulls":13},"□","該当なし",{"$nulls":4},"（等級3）",{"$nulls":4},"（等級2）"]
[null,"６－２",null,null,null,"設計",{"$nulls":4},"換気対策",null,null,"種類",null,null,null,"・","□","機械換気設備",null,null,null,"□","その他",{"$nulls":9},"□","平面図"]
[null,"換気対策",null,null,null,"内容",null,"□","基準",{"$nulls":25},"□",null,null,null,"評価員"]
[{"$nulls":5},"説明欄",null,"□","特認",null,"局所換気",null,null,"便所",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）","□","平面図",null,null,"記入欄"]
[null,"□","非選択",null,null,"と同様",null,"□","型式",null,"対策",null,null,"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）","□"]
[{"$nulls":7},"□","認証",{"$nulls":4},"浴室",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）",{"$nulls":4},"　□"]
[{"$nulls":13},"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
[{"$nulls":13},"台所",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
[{"$nulls":13},"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
["７光・視環境","７－１",null,null,null,"設計",{"$nulls":4},"居室床面積に対する",{"$nulls":6},"・","単純開口率",{"$nulls":15},"□","平面図"]
[null,"単純開口率",null,null,null,"内容",null,"□","基準",null,"開口部の割合",{"$nulls":16},"（",null,null,null,"％以上",null,"）","□","建具表",null,null,"評価員"]
[null,"□","非選択",{"$nulls":4},"□","特認",{"$nulls":25},"□"]
[null,"７－２",null,null,null,"説明欄",null,"□","型式",null,"方位別開口部の",{"$nulls":6},"北面（",null,null,null,"％","",null,"）",null,"東面（",null,null,null,"％","",null,"）","□",null,null,null,"記入欄"]
[null,"方位別開口比",null,null,null,"と同様",null,"□","認証",null,"面積合計の比",{"$nulls":6},"南面（",null,null,null,"％","",null,"）",null,"西面（",null,null,null,"％","",null,"）",{"$nulls":4},"□"]
[null,"□","非選択",{"$nulls":14},"真上（",null,null,null,"％","",null,"）"]
["９高齢者等への配慮","９－１",null,null,null,"等級2",{"$nulls":4},"部屋の",null,null,"特定寝室",null,null,null,"・","特定寝室",null,null,"（",null,null,"階、室名：",{"$nulls":8},"）","□","平面図"]
[null,"高齢者等配",{"$nulls":5},"□","基準",null,"配置等",null,null,"の位置",null,null,null,"・","特定寝室の存する階にある部屋",{"$nulls":15},"□",null,null,null,"評価員"]
[null,"慮対策等級",{"$nulls":5},"□","特認",{"$nulls":8},"□","便所",{"$nulls":19},"記入欄"]
[null,"（専用部分）",{"$nulls":5},"□","型式",null,"段差",null,null,"日常生活",null,null,null,"□","日常生活空間内の床が段差のない構造",{"$nulls":15},"□","平面図",null,null,"□"]
[{"$nulls":7},"□","認証",{"$nulls":4},"空間内",null,null,null,"・","適用除外の段差",{"$nulls":15},"□"]
[null,"□","非選択",{"$nulls":15},"□","玄関出入口",null,null,null,"□","玄関上りかまち",{"$nulls":4},"□","浴室出入口"]
[{"$nulls":18},"□","勝手口出入口",null,null,null,"□","バルコニー出入口",{"$nulls":4},"□","ﾀﾀﾐｺｰﾅｰ"]
[{"$nulls":13},"日常生活空間外",null,null,null,"□","日常生活空間外の床が段差のない構造"]
[{"$nulls":10},"階段",null,null,"勾配等",null,null,null,"□","階段の勾配等の基準に適合",{"$nulls":15},"□","平面図",null,null,"評価員"]
[{"$nulls":10},"□","階段無",null,"□","ﾎｰﾑｴﾚﾍﾞｰﾀｰ",null,null,"勾配22/21以下、550㎜≦けあげ×2＋踏面≦650㎜、かつ、踏面195㎜以上",{"$nulls":16},"□",null,null,null,"記入欄"]
[{"$nulls":13},"蹴込み",null,null,null,"□","蹴込みが30mm以下",{"$nulls":15},"□",null,null,null,"□"]
[{"$nulls":13},"□","ﾎｰﾑｴﾚﾍﾞｰﾀｰ"]
[{"$nulls":13},"階段の幅員等",null,null,null,"□","建築基準法施行令第23条から第27条までに定める基準に適合"]
[{"$nulls":10},"手摺",null,null,"手摺の設置",{"$nulls":4},"□","階段",null,null,"□","便所",null,null,"□","浴室（浴槽出入り）",{"$nulls":6},"□","平面図",null,null,"評価員"]
[{"$nulls":18},"□","玄関（",null,"□","設置準備）",null,null,null,"□","脱衣室（",null,"（","□","設置準備）",null,null,"□","立面図",null,null,"記入欄"]
[{"$nulls":13},"転落防止手摺",null,null,null,"□","バルコニー",null,null,null,"（","□","手すりの設置",null,null,null,"□","転落のおそれなし）",{"$nulls":4},"□",null,null,null,"□"]
[{"$nulls":13},"の設置",null,null,null,"□","窓（２階以上）",null,null,null,"（","□","手すりの設置",null,null,null,"□","転落のおそれなし）",{"$nulls":4},"□"]
[{"$nulls":17},"□","廊下及び階段"]
[{"$nulls":17},"（","□","開放なし",null,null,null,"□","手すりの設置",null,null,null,"□","転落のおそれなし）"]
[{"$nulls":17},"手すり子",null,null,"（","□","なし",null,null,"□","あり",null,null,"）"]
[{"$nulls":25},"内法寸法　",null,null,"□","110㎜以下"]

{"sheet":"設4面【高齢者等級3】","index":5,"n_rows":60,"n_cols":40,"rows_kept":60,"cut":false,"hidden":false,"merged":[[2,38,3,39],[3,1,3,4],[3,10,3,12],[3,13,3,16],[3,17,3,33],[7,1,8,4],[2,1,2,4],[2,5,3,6],[2,7,3,9],[2,10,2,12],[2,13,2,37],[13,13,13,16],[3,34,3,37],[4,0,12,0],[4,10,4,12],[4,13,4,16],[5,1,5,4],[5,10,5,12],[6,1,6,4],[6,10,6,12],[6,35,6,37],[17,13,17,16],[15,27,15,29],[16,27,16,29],[17,27,17,29],[8,10,8,12],[8,13,8,16],[9,10,9,12],[9,13,9,16],[10,10,10,12],[13,10,13,12],[19,13,19,16],[21,10,21,16],[22,1,22,4],[22,10,22,16],[22,28,22,30],[14,35,14,37],[15,10,15,12],[15,13,15,16],[16,10,16,12],[16,35,16,37],[27,27,27,32],[24,28,24,29],[18,27,18,29],[19,27,19,29],[20,27,20,29],[24,10,24,16],[24,17,24,18],[24,19,24,20],[24,22,24,23],[24,26,24,27],[25,17,25,18],[25,19,25,20],[25,22,25,23],[27,0,37,0],[27,10,27,12],[27,13,27,16],[27,22,27,23],[28,10,28,12],[28,13,28,16],[32,13,32,16],[36,14,36,16],[36,17,36,33],[28,1,28,4],[28,35,28,37],[29,1,29,4],[29,18,29,19],[30,10,30,12],[30,13,30,16],[31,13,31,16],[31,35,31,37],[32,35,32,37],[33,19,33,22],[33,24,33,28],[33,30,33,33],[34,13,34,16],[35,10,35,12],[35,13,35,16],[36,35,36,37],[37,13,37,16],[37,35,37,37],[38,14,38,16],[39,13,39,16],[40,10,40,12],[40,13,40,16],[44,14,44,16],[41,35,41,37],[42,13,42,16],[42,29,42,33],[42,35,42,37],[43,13,43,16],[43,29,43,33],[43,35,43,37],[54,35,54,37],[48,10,48,12],[48,13,48,16],[49,10,49,12],[49,13,49,16],[49,35,49,37],[51,10,51,12],[51,13,51,16],[48,18,48,33],[59,10,59,12],[59,13,59,16],[52,10,52,12],[53,10,53,12],[53,13,53,16],[54,10,54,12],[54,13,54,16],[56,18,56,24],[56,10,56,12],[57,10,57,12],[45,29,45,33],[46,17,46,19],[46,22,46,24],[46,26,46,28],[47,25,47,27],[21,0,26,0],[24,35,24,37],[25,10,25,16],[25,26,25,27],[25,28,25,29],[25,31,25,32],[26,17,26,18],[26,19,26,20],[26,22,26,23],[24,31,24,32]],"flags":["formulas_cached_only"]}
["設計内容説明書【一戸建ての木造住宅用】",{"$nulls":38},"（第四面）"]
[]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",{"$nulls":24},"設計\n内容\n確認欄"]
[null,"事項",{"$nulls":8},"項目",null,null,"項目",null,null,null,"設計内容",{"$nulls":16},"記載図書"]
["６空気環境","６－１",null,null,null,"設計",{"$nulls":4},"居室の",null,null,"使用建材",null,null,null,"・","□","製材等",null,null,null,"□","特定建材",null,null,null,"□","その他の建材",{"$nulls":4},"□","仕上表"]
[null,"ホルムアル",null,null,null,"内容",null,"□","基準",null,"内装の",null,null,"ホルムアルデ",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材",{"$nulls":15},"□","建材表",null,null,"評価員"]
[null,"デヒド対策",null,null,null,"説明欄",null,"□","特認",null,"仕上げ材",null,null,"ヒド発散等級",{"$nulls":4},"□","F☆☆☆☆",null,null,null,"□","F☆☆☆",null,null,null,"□","F☆☆",{"$nulls":4},"□",null,null,null,"記入欄"]
[null,"（内装及び天井裏等）",null,null,null,"と同様",null,"□","型式",{"$nulls":4},"□","該当なし",{"$nulls":4},"（等級3）",{"$nulls":4},"（等級2）",{"$nulls":4},"（等級1）"]
[{"$nulls":7},"□","認証",null,"天井裏",null,null,"措置方法",null,null,null,"・","□","換気又は気密措置による",{"$nulls":8},"□","使用建材による",{"$nulls":8},"　□"]
[null,"□","非選択",{"$nulls":7},"等の下",null,null,"使用建材",null,null,null,"・","□","製材等",null,null,null,"□","特定建材",null,null,null,"□","その他の建材"]
[{"$nulls":10},"地材等",null,null,"ホルムアルデ",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材"]
[{"$nulls":13},"ヒド発散等級",{"$nulls":4},"□","F☆☆☆☆",null,null,null,"□","F☆☆☆"]
[{"$nulls":13},"□","該当なし",{"$nulls":4},"（等級3）",{"$nulls":4},"（等級2）"]
[null,"６－２",null,null,null,"設計",{"$nulls":4},"換気対策",null,null,"種類",null,null,null,"・","□","機械換気設備",null,null,null,"□","その他",{"$nulls":9},"□","平面図"]
[null,"換気対策",null,null,null,"内容",null,"□","基準",{"$nulls":25},"□",null,null,null,"評価員"]
[{"$nulls":5},"説明欄",null,"□","特認",null,"局所換気",null,null,"便所",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）","□","平面図",null,null,"記入欄"]
[null,"□","非選択",null,null,"と同様",null,"□","型式",null,"対策",null,null,"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）","□"]
[{"$nulls":7},"□","認証",{"$nulls":4},"浴室",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）",{"$nulls":4},"　□"]
[{"$nulls":13},"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
[{"$nulls":13},"台所",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
[{"$nulls":13},"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
["７光・視環境","７－１",null,null,null,"設計",{"$nulls":4},"居室床面積に対する",{"$nulls":6},"・","単純開口率",{"$nulls":15},"□","平面図"]
[null,"単純開口率",null,null,null,"内容",null,"□","基準",null,"開口部の割合",{"$nulls":16},"（",null,null,null,"％以上",null,"）","□","建具表",null,null,"評価員"]
[null,"□","非選択",{"$nulls":4},"□","特認",{"$nulls":25},"□"]
[null,"７－２",null,null,null,"説明欄",null,"□","型式",null,"方位別開口部の",{"$nulls":6},"北面（",null,null,null,"％","",null,"）",null,"東面（",null,null,null,"％","",null,"）","□",null,null,null,"記入欄"]
[null,"方位別開口比",null,null,null,"と同様",null,"□","認証",null,"面積合計の比",{"$nulls":6},"南面（",null,null,null,"％","",null,"）",null,"西面（",null,null,null,"％","",null,"）",{"$nulls":4},"□"]
[null,"□","非選択",{"$nulls":14},"真上（",null,null,null,"％","",null,"）"]
["９高齢者等への配慮","９－１",null,null,null,"等級3",{"$nulls":4},"部屋の",null,null,"特定寝室",null,null,null,"・","特定寝室",null,null,"（",null,null,"階、室名：",{"$nulls":8},"）","□","平面図"]
[null,"高齢者等配",{"$nulls":5},"□","基準",null,"配置等",null,null,"の位置",null,null,null,"・","特定寝室の存する階にある部屋",{"$nulls":15},"□",null,null,null,"評価員"]
[null,"慮対策等級",{"$nulls":5},"□","特認",{"$nulls":8},"□","便所",{"$nulls":19},"記入欄"]
[null,"（専用部分）",{"$nulls":5},"□","型式",null,"段差",null,null,"日常生活",null,null,null,"□","日常生活空間内の床が段差のない構造",{"$nulls":15},"□","平面図",null,null,"□"]
[{"$nulls":7},"□","認証",{"$nulls":4},"空間内",null,null,null,"・","適用除外の段差",{"$nulls":15},"□"]
[null,"□","非選択",{"$nulls":15},"□","玄関出入口",null,null,null,"□","玄関上りかまち",{"$nulls":4},"□","浴室出入口"]
[{"$nulls":18},"□","勝手口出入口",null,null,null,"□","バルコニー出入口",{"$nulls":4},"□","ﾀﾀﾐｺｰﾅｰ"]
[{"$nulls":13},"日常生活空間外",null,null,null,"□","日常生活空間外の床が段差のない構造"]
[{"$nulls":10},"階段",null,null,"勾配等",null,null,null,"□","階段の勾配等の基準に適合",{"$nulls":15},"□","平面図",null,null,"評価員"]
[{"$nulls":10},"□","階段無",null,"□","ﾎｰﾑｴﾚﾍﾞｰﾀｰ",null,null,"勾配22/21以下、550㎜≦けあげ×2＋踏面≦650㎜、かつ、踏面195㎜以上",{"$nulls":16},"□",null,null,null,"記入欄"]
[{"$nulls":13},"蹴込み",null,null,null,"□","蹴込みが30mm以下",{"$nulls":15},"□",null,null,null,"□"]
[{"$nulls":13},"□","ﾎｰﾑｴﾚﾍﾞｰﾀｰ"]
[{"$nulls":13},"階段の幅員等",null,null,null,"□","建築基準法施行令第23条から第27条までに定める基準に適合"]
[{"$nulls":10},"手摺",null,null,"手摺の設置",{"$nulls":4},"□","階段",null,null,"□","便所",null,null,"□","浴室（浴槽出入り）",{"$nulls":6},"□","平面図",null,null,"評価員"]
[{"$nulls":18},"□","玄関（",null,"□","設置準備）",null,null,null,"□","脱衣室（",null,"（","□","設置準備）",null,null,"□","立面図",null,null,"記入欄"]
[{"$nulls":13},"転落防止手摺",null,null,null,"□","バルコニー",null,null,null,"（","□","手すりの設置",null,null,null,"□","転落のおそれなし）",{"$nulls":4},"□",null,null,null,"□"]
[{"$nulls":13},"の設置",null,null,null,"□","窓（２階以上）",null,null,null,"（","□","手すりの設置",null,null,null,"□","転落のおそれなし）",{"$nulls":4},"□"]
[{"$nulls":13},"□","該当なし",null,null,"□","廊下及び階段"]
[{"$nulls":17},"（","□","開放なし",null,null,null,"□","手すりの設置",null,null,null,"□","転落のおそれなし）"]
[{"$nulls":17},"手すり子",null,null,"（","□","なし",null,null,"□","あり",null,null,"）"]
[{"$nulls":25},"内法寸法　",null,null,"□","110㎜以下"]
[{"$nulls":10},"通路等の",null,null,"通路の幅員",null,null,null,"□","通路有効幅員780㎜以上（柱等の箇所750㎜以上）",{"$nulls":15},"□","平面図",null,null,"評価員"]
[{"$nulls":10},"幅員",null,null,"出入口の幅員",null,null,null,"□","玄関出入口の有効幅員750㎜以上",{"$nulls":15},"□",null,null,null,"記入欄"]
[{"$nulls":17},"□","浴室出入口の有効幅員600㎜以上",{"$nulls":19},"□"]
[{"$nulls":10},"(日常生活",{"$nulls":6},"□","玄関・浴室以外出入口の有効幅員750㎜以上"]
[{"$nulls":10},"空間内）",{"$nulls":7},"（","□","軽微な改造により確保",{"$nulls":6},"）"]
[{"$nulls":10},"寝室、便",null,null,"浴室の寸法",null,null,null,"□","内法面積2.0㎡、短辺内法寸法1,300㎜以上",{"$nulls":15},"□","平面図"]
[{"$nulls":10},"所及び浴",null,null,"便所の寸法等",null,null,null,"□","長辺内法寸法の1,300㎜以上",{"$nulls":15},"□"]
[{"$nulls":10},"室",{"$nulls":6},"もしくは"]
[{"$nulls":10},"(日常生活",{"$nulls":6},"□","便器と壁の距離が500㎜以上",{"$nulls":7},"（前方又は側方）"]
[{"$nulls":10},"空間内）",{"$nulls":6},"（","□","ドアの開放により確保",{"$nulls":5},"□","軽微な改造により確保",{"$nulls":6},"）"]
[{"$nulls":17},"□","腰掛け式便器を設置"]
[{"$nulls":13},"特定寝室面積",null,null,null,"□","特定寝室の内法面積9㎡以上"]

{"sheet":"設4面【高齢者等級4】","index":6,"n_rows":63,"n_cols":40,"rows_kept":63,"cut":false,"hidden":false,"merged":[[62,10,62,12],[62,13,62,16],[33,24,33,28],[36,17,36,33],[56,10,56,12],[56,13,56,16],[57,10,57,12],[57,18,57,33],[57,13,57,16],[33,30,33,33],[59,10,59,12],[60,10,60,12],[59,18,59,24],[45,13,45,16],[46,13,46,16],[47,13,47,16],[49,17,49,19],[49,22,49,24],[51,10,51,12],[51,13,51,16],[42,13,42,16],[43,10,43,12],[43,13,43,16],[44,35,44,37],[40,13,40,16],[57,35,57,37],[49,26,49,28],[54,10,54,12],[54,13,54,16],[55,10,55,12],[34,13,34,16],[35,10,35,12],[36,35,36,37],[33,19,33,22],[32,13,32,16],[37,35,37,37],[25,22,25,23],[31,13,31,16],[31,35,31,37],[32,35,32,37],[28,10,28,12],[28,13,28,16],[28,35,28,37],[25,17,25,18],[25,19,25,20],[24,31,24,32],[27,0,39,0],[27,10,27,12],[27,13,27,16],[27,22,27,23],[27,27,27,32],[28,1,28,4],[29,1,29,4],[30,10,30,12],[30,13,30,16],[24,17,24,18],[24,19,24,20],[24,22,24,23],[24,26,24,27],[24,28,24,29],[20,27,20,29],[17,13,17,16],[19,13,19,16],[18,27,18,29],[19,27,19,29],[16,27,16,29],[17,27,17,29],[14,35,14,37],[15,10,15,12],[15,13,15,16],[15,27,15,29],[21,10,21,16],[22,1,22,4],[22,10,22,16],[22,28,22,30],[16,10,16,12],[16,35,16,37],[7,1,8,4],[8,10,8,12],[8,13,8,16],[9,13,9,16],[10,10,10,12],[13,10,13,12],[13,13,13,16],[2,5,3,6],[2,7,3,9],[2,10,2,12],[4,0,12,0],[4,10,4,12],[4,13,4,16],[5,1,5,4],[5,10,5,12],[6,1,6,4],[6,10,6,12],[46,29,46,33],[46,35,46,37],[48,29,48,33],[2,38,3,39],[3,1,3,4],[3,10,3,12],[3,13,3,16],[3,17,3,33],[3,34,3,37],[2,1,2,4],[51,18,51,33],[52,10,52,12],[52,13,52,16],[2,13,2,37],[6,35,6,37],[9,10,9,12],[52,35,52,37],[50,25,50,27],[45,29,45,33],[45,35,45,37],[21,0,26,0],[24,35,24,37],[25,10,25,16],[25,26,25,27],[25,28,25,29],[25,31,25,32],[26,17,26,18],[26,19,26,20],[26,22,26,23],[24,10,24,16]],"flags":["formulas_cached_only"]}
["設計内容説明書【一戸建ての木造住宅用】",{"$nulls":38},"（第四面）"]
[]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",{"$nulls":24},"設計\n内容\n確認欄"]
[null,"事項",{"$nulls":8},"項目",null,null,"項目",null,null,null,"設計内容",{"$nulls":16},"記載図書"]
["６空気環境","６－１",null,null,null,"設計",{"$nulls":4},"居室の",null,null,"使用建材",null,null,null,"・","□","製材等",null,null,null,"□","特定建材",null,null,null,"□","その他の建材",{"$nulls":4},"□","仕上表"]
[null,"ホルムアル",null,null,null,"内容",null,"□","基準",null,"内装の",null,null,"ホルムアルデ",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材",{"$nulls":15},"□","建材表",null,null,"評価員"]
[null,"デヒド対策",null,null,null,"説明欄",null,"□","特認",null,"仕上げ材",null,null,"ヒド発散等級",{"$nulls":4},"□","F☆☆☆☆",null,null,null,"□","F☆☆☆",null,null,null,"□","F☆☆",{"$nulls":4},"□",null,null,null,"記入欄"]
[null,"（内装及び天井裏等）",null,null,null,"と同様",null,"□","型式",{"$nulls":4},"□","該当なし",{"$nulls":4},"（等級3）",{"$nulls":4},"（等級2）",{"$nulls":4},"（等級1）"]
[{"$nulls":7},"□","認証",null,"天井裏",null,null,"措置方法",null,null,null,"・","□","換気又は気密措置による",{"$nulls":8},"□","使用建材による",{"$nulls":8},"　□"]
[null,"□","非選択",{"$nulls":7},"等の下",null,null,"使用建材",null,null,null,"・","□","製材等",null,null,null,"□","特定建材",null,null,null,"□","その他の建材"]
[{"$nulls":10},"地材等",null,null,"ホルムアルデ",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材"]
[{"$nulls":13},"ヒド発散等級",{"$nulls":4},"□","F☆☆☆☆",null,null,null,"□","F☆☆☆"]
[{"$nulls":13},"□","該当なし",{"$nulls":4},"（等級3）",{"$nulls":4},"（等級2）"]
[null,"６－２",null,null,null,"設計",{"$nulls":4},"換気対策",null,null,"種類",null,null,null,"・","□","機械換気設備",null,null,null,"□","その他",{"$nulls":9},"□","平面図"]
[null,"換気対策",null,null,null,"内容",null,"□","基準",{"$nulls":25},"□",null,null,null,"評価員"]
[{"$nulls":5},"説明欄",null,"□","特認",null,"局所換気",null,null,"便所",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）","□","平面図",null,null,"記入欄"]
[null,"□","非選択",null,null,"と同様",null,"□","型式",null,"対策",null,null,"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）","□"]
[{"$nulls":7},"□","認証",{"$nulls":4},"浴室",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）",{"$nulls":4},"　□"]
[{"$nulls":13},"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
[{"$nulls":13},"台所",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
[{"$nulls":13},"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
["７光・視環境","７－１",null,null,null,"設計",{"$nulls":4},"居室床面積に対する",{"$nulls":6},"・","単純開口率",{"$nulls":15},"□","平面図"]
[null,"単純開口率",null,null,null,"内容",null,"□","基準",null,"開口部の割合",{"$nulls":16},"（",null,null,null,"％以上",null,"）","□","建具表",null,null,"評価員"]
[null,"□","非選択",{"$nulls":4},"□","特認",{"$nulls":25},"□"]
[null,"７－２",null,null,null,"説明欄",null,"□","型式",null,"方位別開口部の",{"$nulls":6},"北面（",null,null,null,"％","",null,"）",null,"東面（",null,null,null,"％","",null,"）","□",null,null,null,"記入欄"]
[null,"方位別開口比",null,null,null,"と同様",null,"□","認証",null,"面積合計の比",{"$nulls":6},"南面（",null,null,null,"％","",null,"）",null,"西面（",null,null,null,"％","",null,"）",{"$nulls":4},"□"]
[null,"□","非選択",{"$nulls":14},"真上（",null,null,null,"％","",null,"）"]
["９高齢者等への配慮","９－１",null,null,null,"等級4",{"$nulls":4},"部屋の",null,null,"特定寝室",null,null,null,"・","特定寝室",null,null,"（",null,null,"階、室名：",{"$nulls":8},"）","□","平面図"]
[null,"高齢者等配",{"$nulls":5},"□","基準",null,"配置等",null,null,"の位置",null,null,null,"□","便所",{"$nulls":15},"□",null,null,null,"評価員"]
[null,"慮対策等級",{"$nulls":5},"□","特認",{"$nulls":8},"□","浴室",null,"（基準に適合するエレベーター",{"$nulls":7},"□","有","）",{"$nulls":7},"記入欄"]
[null,"（専用部分）",{"$nulls":5},"□","型式",null,"段差",null,null,"日常生活",null,null,null,"□","日常生活空間内の床が段差のない構造",{"$nulls":15},"□","平面図",null,null,"□"]
[{"$nulls":7},"□","認証",{"$nulls":4},"空間内",null,null,null,"・","適用除外の段差",{"$nulls":15},"□"]
[null,"□","非選択",{"$nulls":15},"□","玄関出入口",null,null,null,"□","玄関上りかまち",{"$nulls":4},"□","浴室出入口"]
[{"$nulls":18},"□","勝手口出入口",null,null,null,"□","バルコニー出入口",{"$nulls":4},"□","ﾀﾀﾐｺｰﾅｰ"]
[{"$nulls":13},"日常生活空間外",null,null,null,"□","日常生活空間外の床が段差のない構造"]
[{"$nulls":10},"階段",null,null,"勾配等",null,null,null,"□","階段の勾配等の基準に適合",{"$nulls":15},"□","平面図",null,null,"評価員"]
[{"$nulls":17},"　　　勾配6/7以下、550㎜≦けあげ×2＋踏面≦650㎜",{"$nulls":16},"□",null,null,null,"記入欄"]
[{"$nulls":10},"□","階段無",null,"蹴込み",null,null,null,"□","蹴込みが30mm以下、かつ、蹴込み板が設けられている",{"$nulls":15},"□",null,null,null,"□"]
[{"$nulls":13},"形式等",null,null,null,"□","回り階段等安全上問題があると考えられる形式を用いていない"]
[{"$nulls":17},"□","通路等への食い込み及び突出が設けられていない"]
[{"$nulls":13},"除外規定",null,null,null,"□","ﾎｰﾑｴﾚﾍﾞｰﾀｰを設置し、かつ、等級3の階段の基準に適合"]
[{"$nulls":17},"□","日常生活空間外の階段で、かつ、等級3の階段の基準に適合"]
[{"$nulls":13},"階段の幅員等",null,null,null,"□","建築基準法施行令第23条から第27条までに定める基準に適合"]
[{"$nulls":10},"手摺",null,null,"手摺の設置",{"$nulls":4},"□","階段",null,null,"□","便所",null,null,"□","浴室",{"$nulls":6},"□","平面図"]
[{"$nulls":18},"□","玄関",null,null,"□","脱衣室",{"$nulls":10},"□"]
[{"$nulls":13},"転落防止手摺",null,null,null,"□","バルコニー",null,null,null,"（","□","手すりの設置",null,null,null,"□","転落のおそれなし）",{"$nulls":4},"□"]
[{"$nulls":13},"の設置",null,null,null,"□","窓（２階以上）",null,null,null,"（","□","手すりの設置",null,null,null,"□","転落のおそれなし）",{"$nulls":4},"□"]
[{"$nulls":17},"□","廊下及び階段"]
[{"$nulls":17},"（","□","開放なし",null,null,null,"□","手すりの設置",null,null,null,"□","転落のおそれなし）"]
[{"$nulls":17},"手すり子",null,null,"（","□","なし",null,null,"□","あり",null,null,"）"]
[{"$nulls":25},"内法寸法　",null,null,"□","110㎜以下"]
[{"$nulls":10},"通路等の",null,null,"通路の幅員",null,null,null,"□","通路有効幅員780㎜以上（柱等の箇所750㎜以上）",{"$nulls":15},"□","平面図",null,null,"評価員"]
[{"$nulls":10},"幅員",null,null,"出入口の幅員",null,null,null,"□","玄関出入口の有効幅員750㎜以上",{"$nulls":15},"□",null,null,null,"記入欄"]
[{"$nulls":17},"□","浴室出入口の有効幅員650㎜以上",{"$nulls":19},"□"]
[{"$nulls":10},"(日常生活",{"$nulls":6},"□","玄関・浴室以外出入口の有効幅員750㎜以上"]
[{"$nulls":10},"空間内）",{"$nulls":7},"（","□","工事を伴わない撤去等",{"$nulls":11},"）"]
[{"$nulls":10},"寝室、便",null,null,"浴室の寸法",null,null,null,"□","内法面積2.5㎡、短辺内法寸法1,400㎜以上",{"$nulls":15},"□","平面図"]
[{"$nulls":10},"所及び浴",null,null,"便所の寸法等",null,null,null,"□","短辺内法寸法1,100㎜以上かつ長辺内法寸法の1,300㎜以上",{"$nulls":15},"□"]
[{"$nulls":10},"室",{"$nulls":6},"もしくは"]
[{"$nulls":10},"(日常生活",{"$nulls":6},"□","便器と壁の距離が500㎜以上",{"$nulls":7},"（前方及び側方）"]
[{"$nulls":10},"空間内）",{"$nulls":7},"□","ドアの開放により確保",{"$nulls":6},"□","軽微な改造により確保"]
[{"$nulls":17},"□","腰掛け式便器を設置"]
[{"$nulls":13},"特定寝室面積",null,null,null,"□","特定寝室の内法面積12㎡以上"]

{"sheet":"設4面【高齢者等級5】","index":7,"n_rows":64,"n_cols":40,"rows_kept":64,"cut":false,"hidden":false,"merged":[[58,35,58,37],[61,10,61,12],[63,10,63,12],[63,13,63,16],[49,29,49,33],[50,17,50,19],[50,22,50,24],[50,26,50,28],[51,25,51,27],[52,18,52,33],[27,0,39,0],[33,19,33,22],[33,24,33,28],[33,30,33,33],[36,17,36,33],[37,35,37,37],[31,13,31,16],[31,35,31,37],[32,13,32,16],[32,35,32,37],[58,10,58,12],[60,10,60,12],[55,10,55,12],[55,13,55,16],[56,10,56,12],[57,13,57,16],[58,13,58,16],[57,10,57,12],[52,10,52,12],[52,13,52,16],[53,10,53,12],[53,13,53,16],[53,35,53,37],[46,35,46,37],[47,13,47,16],[48,13,48,16],[46,13,46,16],[46,29,46,33],[47,29,47,33],[47,35,47,37],[34,13,34,16],[35,10,35,12],[36,35,36,37],[44,13,44,16],[42,13,42,16],[43,13,43,16],[44,10,44,12],[45,35,45,37],[28,10,28,12],[28,13,28,16],[28,35,28,37],[29,1,29,4],[30,10,30,12],[30,13,30,16],[28,1,28,4],[24,31,24,32],[25,17,25,18],[25,19,25,20],[25,22,25,23],[27,10,27,12],[27,13,27,16],[27,22,27,23],[27,27,27,32],[19,13,19,16],[21,10,21,16],[22,1,22,4],[22,10,22,16],[22,28,22,30],[24,10,24,16],[24,17,24,18],[24,19,24,20],[24,22,24,23],[24,26,24,27],[16,10,16,12],[16,35,16,37],[17,13,17,16],[15,27,15,29],[16,27,16,29],[17,27,17,29],[9,13,9,16],[10,10,10,12],[13,10,13,12],[13,13,13,16],[14,35,14,37],[15,10,15,12],[15,13,15,16],[4,0,12,0],[4,10,4,12],[4,13,4,16],[5,1,5,4],[5,10,5,12],[6,1,6,4],[6,10,6,12],[7,1,8,4],[8,10,8,12],[8,13,8,16],[2,38,3,39],[3,1,3,4],[3,10,3,12],[3,13,3,16],[3,17,3,33],[3,34,3,37],[18,27,18,29],[19,27,19,29],[20,27,20,29],[2,1,2,4],[2,5,3,6],[2,7,3,9],[2,10,2,12],[2,13,2,37],[6,35,6,37],[9,10,9,12],[21,0,26,0],[24,35,24,37],[25,10,25,16],[25,26,25,27],[25,28,25,29],[25,31,25,32],[26,17,26,18],[26,19,26,20],[26,22,26,23],[24,28,24,29]],"flags":["formulas_cached_only"]}
["設計内容説明書【一戸建ての木造住宅用】",{"$nulls":38},"（第四面）"]
[]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",{"$nulls":24},"設計\n内容\n確認欄"]
[null,"事項",{"$nulls":8},"項目",null,null,"項目",null,null,null,"設計内容",{"$nulls":16},"記載図書"]
["６空気環境","６－１",null,null,null,"設計",{"$nulls":4},"居室の",null,null,"使用建材",null,null,null,"・","□","製材等",null,null,null,"□","特定建材",null,null,null,"□","その他の建材",{"$nulls":4},"□","仕上表"]
[null,"ホルムアル",null,null,null,"内容",null,"□","基準",null,"内装の",null,null,"ホルムアルデ",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材",{"$nulls":15},"□","建材表",null,null,"評価員"]
[null,"デヒド対策",null,null,null,"説明欄",null,"□","特認",null,"仕上げ材",null,null,"ヒド発散等級",{"$nulls":4},"□","F☆☆☆☆",null,null,null,"□","F☆☆☆",null,null,null,"□","F☆☆",{"$nulls":4},"□",null,null,null,"記入欄"]
[null,"（内装及び天井裏等）",null,null,null,"と同様",null,"□","型式",{"$nulls":4},"□","該当なし",{"$nulls":4},"（等級3）",{"$nulls":4},"（等級2）",{"$nulls":4},"（等級1）"]
[{"$nulls":7},"□","認証",null,"天井裏",null,null,"措置方法",null,null,null,"・","□","換気又は気密措置による",{"$nulls":8},"□","使用建材による",{"$nulls":8},"　□"]
[null,"□","非選択",{"$nulls":7},"等の下",null,null,"使用建材",null,null,null,"・","□","製材等",null,null,null,"□","特定建材",null,null,null,"□","その他の建材"]
[{"$nulls":10},"地材等",null,null,"ホルムアルデ",null,null,null,"・","特定建材のうち最もﾎﾙﾑｱﾙﾃﾞﾋﾄﾞ発散が大きい建材"]
[{"$nulls":13},"ヒド発散等級",{"$nulls":4},"□","F☆☆☆☆",null,null,null,"□","F☆☆☆"]
[{"$nulls":13},"□","該当なし",{"$nulls":4},"（等級3）",{"$nulls":4},"（等級2）"]
[null,"６－２",null,null,null,"設計",{"$nulls":4},"換気対策",null,null,"種類",null,null,null,"・","□","機械換気設備",null,null,null,"□","その他",{"$nulls":9},"□","平面図"]
[null,"換気対策",null,null,null,"内容",null,"□","基準",{"$nulls":25},"□",null,null,null,"評価員"]
[{"$nulls":5},"説明欄",null,"□","特認",null,"局所換気",null,null,"便所",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）","□","平面図",null,null,"記入欄"]
[null,"□","非選択",null,null,"と同様",null,"□","型式",null,"対策",null,null,"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）","□"]
[{"$nulls":7},"□","認証",{"$nulls":4},"浴室",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）",{"$nulls":4},"　□"]
[{"$nulls":13},"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
[{"$nulls":13},"台所",null,null,null,"・","機械換気設備の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
[{"$nulls":13},"□","該当なし",null,null,"・","換気のできる窓の有無",{"$nulls":5},"（","□","有",null,null,null,"□","無",null,"）"]
["７光・視環境","７－１",null,null,null,"設計",{"$nulls":4},"居室床面積に対する",{"$nulls":6},"・","単純開口率",{"$nulls":15},"□","平面図"]
[null,"単純開口率",null,null,null,"内容",null,"□","基準",null,"開口部の割合",{"$nulls":16},"（",null,null,null,"％以上",null,"）","□","建具表",null,null,"評価員"]
[null,"□","非選択",{"$nulls":4},"□","特認",{"$nulls":25},"□"]
[null,"７－２",null,null,null,"説明欄",null,"□","型式",null,"方位別開口部の",{"$nulls":6},"北面（",null,null,null,"％","",null,"）",null,"東面（",null,null,null,"％","",null,"）","□",null,null,null,"記入欄"]
[null,"方位別開口比",null,null,null,"と同様",null,"□","認証",null,"面積合計の比",{"$nulls":6},"南面（",null,null,null,"％","",null,"）",null,"西面（",null,null,null,"％","",null,"）",{"$nulls":4},"□"]
[null,"□","非選択",{"$nulls":14},"真上（",null,null,null,"％","",null,"）"]
["９高齢者等への配慮","９－１",null,null,null,"等級5",{"$nulls":4},"部屋の",null,null,"特定寝室",null,null,null,"・","特定寝室",null,null,"（",null,null,"階、室名：",{"$nulls":8},"）","□","平面図"]
[null,"高齢者等配",{"$nulls":5},"□","基準",null,"配置等",null,null,"の位置",null,null,null,"□","玄関",null,null,"□","便所",null,null,"□","浴室",null,null,"□","食事室",null,null,null,"□",null,null,null,"評価員"]
[null,"慮対策等級",{"$nulls":5},"□","特認",{"$nulls":8},"□","脱衣室及び洗面所",{"$nulls":4},"（基準に適合するエレベーター",{"$nulls":7},"□","有","）",{"$nulls":4},"記入欄"]
[null,"（専用部分）",{"$nulls":5},"□","型式",null,"段差",null,null,"日常生活",null,null,null,"□","日常生活空間内の床が段差のない構造",{"$nulls":15},"□","平面図",null,null,"□"]
[{"$nulls":7},"□","認証",{"$nulls":4},"空間内",null,null,null,"・","適用除外の段差",{"$nulls":15},"□"]
[null,"□","非選択",{"$nulls":15},"□","玄関出入口",null,null,null,"□","玄関上りかまち"]
[{"$nulls":18},"□","勝手口出入口",null,null,null,"□","バルコニー出入口",{"$nulls":4},"□","ﾀﾀﾐｺｰﾅｰ"]
[{"$nulls":13},"日常生活空間外",null,null,null,"□","日常生活空間外の床が段差のない構造"]
[{"$nulls":10},"階段",null,null,"勾配等",null,null,null,"□","階段の勾配等の基準に適合",{"$nulls":15},"□","平面図"]
[{"$nulls":17},"　　　勾配6/7以下、550㎜≦けあげ×2＋踏面≦650㎜",{"$nulls":16},"□"]
[{"$nulls":10},"□","階段無",null,"蹴込み",null,null,null,"□","蹴込みが30mm以下、かつ、蹴込み板が設けられている",{"$nulls":15},"□",null,null,null,"評価員"]
[{"$nulls":13},"形式等",null,null,null,"□","回り階段等安全上問題があると考えられる形式を用いていない",{"$nulls":19},"記入欄"]
[{"$nulls":17},"□","通路等への食い込み及び突出が設けられていない",{"$nulls":19},"□"]
[{"$nulls":17},"□","滑り止め無し、又は滑り止めが踏面と同一面"]
[{"$nulls":17},"□","段鼻なし"]
[{"$nulls":13},"除外規定",null,null,null,"□","ﾎｰﾑｴﾚﾍﾞｰﾀｰを設置し、かつ、等級3の階段の基準に適合"]
[{"$nulls":13},"階段の幅員等",null,null,null,"□","建築基準法施行令第23条から第27条までに定める基準に適合"]
[{"$nulls":10},"手摺",null,null,"手摺の設置",{"$nulls":4},"□","階段",null,null,"□","便所",null,null,"□","浴室",{"$nulls":6},"□","平面図"]
[{"$nulls":18},"□","玄関",null,null,"□","脱衣室",{"$nulls":10},"□"]
[{"$nulls":13},"転落防止手摺",null,null,null,"□","バルコニー",null,null,null,"（","□","手すりの設置",null,null,null,"□","転落のおそれなし）",{"$nulls":4},"□"]
[{"$nulls":13},"の設置",null,null,null,"□","窓（２階以上）",null,null,null,"（","□","手すりの設置",null,null,null,"□","転落のおそれなし）",{"$nulls":4},"□"]
[{"$nulls":17},"□","廊下及び階段"]
[{"$nulls":17},"（","□","開放なし",null,null,null,"□","手すりの設置",null,null,null,"□","転落のおそれなし）"]
[{"$nulls":17},"手すり子",null,null,"（","□","なし",null,null,"□","あり",null,null,"）"]
[{"$nulls":25},"内法寸法　",null,null,"□","110㎜以下"]
[{"$nulls":10},"通路等の",null,null,"通路の幅員",null,null,null,"□","通路有効幅員850㎜以上（柱等の箇所800㎜以上）",{"$nulls":15},"□","平面図"]
[{"$nulls":10},"幅員",null,null,"出入口の幅員",null,null,null,"□","玄関出入口の有効幅員800㎜以上",{"$nulls":15},"□",null,null,null,"評価員"]
[{"$nulls":17},"□","浴室出入口の有効幅員800㎜以上",{"$nulls":19},"記入欄"]
[{"$nulls":10},"(日常生活",{"$nulls":6},"□","玄関・浴室以外出入口の有効幅員800㎜以上",{"$nulls":19},"□"]
[{"$nulls":10},"空間内）",{"$nulls":7},"（","□","工事を伴わない撤去等",{"$nulls":6},"）"]
[{"$nulls":10},"寝室、便",null,null,"浴室の寸法",null,null,null,"□","内法面積2.5㎡、短辺内法寸法1,400㎜以上",{"$nulls":15},"□","平面図"]
[{"$nulls":10},"所及び浴",null,null,"便所の寸法等",null,null,null,"短辺内法寸法",{"$nulls":16},"□"]
[{"$nulls":10},"室",{"$nulls":6},"□","1,300㎜以上",{"$nulls":6},"もしくは"]
[{"$nulls":10},"(日常生活",{"$nulls":6},"□","便器後方の壁から便器の先端までの距離＋500㎜以上"]
[{"$nulls":10},"空間内）",{"$nulls":7},"（","□","工事を伴わない撤去等",{"$nulls":6},"）"]
[{"$nulls":17},"□","腰掛け式便器を設置"]
[{"$nulls":13},"特定寝室面積",null,null,null,"□","特定寝室の内法面積12㎡以上"]

{"sheet":"設5面","index":8,"n_rows":62,"n_cols":40,"rows_kept":62,"cut":false,"hidden":false,"merged":[[41,5,41,6],[41,13,41,16],[42,13,42,16],[39,28,39,31],[34,28,34,31],[37,13,37,16],[36,13,36,16],[36,28,36,32],[38,13,38,16],[38,26,38,32],[26,13,26,16],[44,13,44,16],[43,26,43,32],[44,28,44,31],[41,28,41,32],[39,13,39,16],[43,13,43,16],[26,28,26,32],[29,13,29,16],[33,26,33,32],[33,13,33,16],[31,28,31,32],[34,13,34,16],[28,26,28,32],[31,13,31,16],[32,13,32,16],[29,28,29,31],[24,38,25,39],[25,13,25,16],[28,1,28,4],[25,10,25,12],[24,13,24,37],[27,13,27,16],[24,10,24,12],[28,13,28,16],[28,35,28,37],[25,17,25,33],[26,10,26,12],[36,5,36,6],[27,1,27,4],[25,1,25,4],[26,5,26,6],[24,7,25,9],[27,10,27,12],[25,34,25,37],[24,1,24,4],[6,35,6,37],[7,35,7,37],[16,11,16,12],[4,13,4,16],[24,5,25,6],[2,10,2,12],[2,38,3,39],[3,1,3,4],[3,10,3,12],[3,13,3,16],[3,17,3,33],[3,34,3,37],[2,1,2,4],[2,5,3,6],[2,7,3,9],[48,0,48,4],[48,17,48,28],[45,13,45,16],[5,1,5,4],[6,1,6,4],[4,10,4,12],[23,6,23,8],[23,11,23,13],[26,0,38,0],[31,5,31,6],[49,0,49,4],[49,17,49,28],[48,5,48,16],[2,13,2,37],[10,13,10,16],[16,13,16,16],[4,0,21,0],[10,11,10,12],[48,29,48,39],[45,10,45,12],[54,0,54,4],[54,17,54,28],[55,0,55,4],[55,17,55,28],[59,0,59,4],[59,17,59,28],[61,0,61,4],[61,17,61,28],[56,0,56,4],[56,17,56,28],[57,0,57,4],[57,17,57,28],[58,0,58,4],[58,17,58,28],[60,0,60,4],[60,17,60,28],[50,0,50,4],[50,17,50,28],[51,0,51,4],[51,17,51,28],[53,0,53,4],[52,0,52,4],[52,17,52,28],[53,17,53,28]],"flags":["formulas_cached_only"]}
["設計内容説明書【一戸建ての木造住宅用】",{"$nulls":38},"（第五面）"]
[]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n結果",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",{"$nulls":24},"設計\n内容\n確認欄"]
[null,"事項",{"$nulls":8},"項目",null,null,"項目",null,null,null,"設計内容",{"$nulls":16},"記載図書"]
["10防犯","１０－１",null,null,null,"設計",{"$nulls":4},"１階",null,null,"区分及び措置",null,null,null,"・","区分a",null,"□","侵入防止上有効な措置（",{"$nulls":6},"□","雨戸等による対策）",{"$nulls":4},"□","平面図"]
[null,"開口部の",null,null,null,"内容",null,"□","基準",{"$nulls":11},"□","その他",null,null,"□","該当する開口部無し",{"$nulls":8},"□","立面図",null,null,"評価員"]
[null,"侵入防止対策",null,null,null,"説明欄",null,"□","特認",{"$nulls":8},"・","区分b",null,"□","侵入防止上有効な措置（",{"$nulls":6},"□","雨戸等による対策）",{"$nulls":4},"□","建具表",null,null,"記入欄"]
[{"$nulls":5},"と同様",null,"□","型式",{"$nulls":11},"□","その他",null,null,"□","該当する開口部無し",{"$nulls":8},"□"]
[null,"□","非選択",{"$nulls":4},"□","認証",{"$nulls":8},"・","区分c",null,"□","侵入防止上有効な措置（",{"$nulls":6},"□","雨戸等による対策）",{"$nulls":8},"　□"]
[{"$nulls":20},"□","その他",null,null,"□","該当する開口部無し"]
[{"$nulls":10},"□","２階",null,"区分及び措置",null,null,null,"・","区分a",null,"□","侵入防止上有効な措置（",{"$nulls":6},"□","雨戸等による対策）"]
[{"$nulls":20},"□","その他",null,null,"□","該当する開口部無し"]
[{"$nulls":17},"・","区分b",null,"□","侵入防止上有効な措置（",{"$nulls":6},"□","雨戸等による対策）"]
[{"$nulls":20},"□","その他",null,null,"□","該当する開口部無し"]
[{"$nulls":17},"・","区分c",null,"□","侵入防止上有効な措置（",{"$nulls":6},"□","雨戸等による対策）"]
[{"$nulls":20},"□","その他",null,null,"□","該当する開口部無し"]
[{"$nulls":10},"□",null,null,"区分及び措置",null,null,null,"・","区分a",null,"□","侵入防止上有効な措置（",{"$nulls":6},"□","雨戸等による対策）"]
[{"$nulls":20},"□","その他",null,null,"□","該当する開口部無し"]
[{"$nulls":17},"・","区分b",null,"□","侵入防止上有効な措置（",{"$nulls":6},"□","雨戸等による対策）"]
[{"$nulls":20},"□","その他",null,null,"□","該当する開口部無し"]
[{"$nulls":17},"・","区分c",null,"□","侵入防止上有効な措置（",{"$nulls":6},"□","雨戸等による対策）"]
[{"$nulls":20},"□","その他",null,null,"□","該当する開口部無し"]
[]
[]
[null,"性能表示　　　　",null,null,null,"自己\n評価\n等級",null,"評価方法",null,null,"確認",null,null,"設計内容説明欄",{"$nulls":24},"設計\n内容\n確認欄"]
[null,"事項",{"$nulls":8},"項目",null,null,"項目",null,null,null,"設計内容",{"$nulls":16},"記載図書"]
["８音環境","８－４",null,null,null,"北面",{"$nulls":4},"開口部の",null,null,"北の方位の",null,null,null,"□","ＪＩＳの遮音等級表示品",{"$nulls":8},"（",{"$nulls":5},"）","□","仕上表"]
[null,"透過損失",null,null,null,"□",3,"□","基準",null,"遮音性能",null,null,"ｻｯｼ・ﾄﾞｱｾｯﾄ",null,null,null,"□","その他試験を行うもの",{"$nulls":15},"□","建具表",null,null,"評価員"]
[null,"等級",null,null,null,"□",2,"□","特認",{"$nulls":4},"（遮音性能が",{"$nulls":5},"試験実施機関名称",{"$nulls":5},"（",{"$nulls":7},"）","□",null,null,null,"記入欄"]
[null,"（外壁開口部）",null,null,null,"□",1,"□","型式",{"$nulls":4},"最低のもの）",{"$nulls":5},"透過損失の平均値",{"$nulls":7},"（",{"$nulls":4},"ｄＢ","）"]
[{"$nulls":5},"□","-","□","認証"]
[null,"□","非選択",null,null,"東面",{"$nulls":7},"東の方位の",null,null,null,"□","ＪＩＳの遮音等級表示品",{"$nulls":8},"（",{"$nulls":5},"）",{"$nulls":4},"　□"]
[{"$nulls":5},"□",3,{"$nulls":6},"ｻｯｼ・ﾄﾞｱｾｯﾄ",null,null,null,"□","その他試験を行うもの"]
[{"$nulls":5},"□",2,{"$nulls":6},"（遮音性能が",{"$nulls":5},"試験実施機関名称",{"$nulls":5},"（",{"$nulls":7},"）"]
[{"$nulls":5},"□",1,{"$nulls":6},"最低のもの）",{"$nulls":5},"透過損失の平均値",{"$nulls":7},"（",{"$nulls":4},"ｄＢ","）"]
[{"$nulls":5},"□","-"]
[{"$nulls":5},"南面",{"$nulls":7},"南の方位の",null,null,null,"□","ＪＩＳの遮音等級表示品",{"$nulls":8},"（",{"$nulls":5},"）"]
[{"$nulls":5},"□",3,{"$nulls":6},"ｻｯｼ・ﾄﾞｱｾｯﾄ",null,null,null,"□","その他試験を行うもの"]
[{"$nulls":5},"□",2,{"$nulls":6},"（遮音性能が",{"$nulls":5},"試験実施機関名称",{"$nulls":5},"（",{"$nulls":7},"）"]
[{"$nulls":5},"□",1,{"$nulls":6},"最低のもの）",{"$nulls":5},"透過損失の平均値",{"$nulls":7},"（",{"$nulls":4},"ｄＢ","）"]
[{"$nulls":5},"□","-"]
[{"$nulls":5},"西面",{"$nulls":7},"西の方位の",null,null,null,"□","ＪＩＳの遮音等級表示品",{"$nulls":8},"（",{"$nulls":5},"）"]
[{"$nulls":5},"□",3,{"$nulls":6},"ｻｯｼ・ﾄﾞｱｾｯﾄ",null,null,null,"□","その他試験を行うもの"]
[{"$nulls":5},"□",2,{"$nulls":6},"（遮音性能が",{"$nulls":5},"試験実施機関名称",{"$nulls":5},"（",{"$nulls":7},"）"]
[{"$nulls":5},"□",1,{"$nulls":6},"最低のもの）",{"$nulls":5},"透過損失の平均値",{"$nulls":7},"（",{"$nulls":4},"ｄＢ","）"]
[{"$nulls":5},"□","-",null,null,null,"認定書等",null,null,"認定書等活用",null,null,null,"□","認定書等の活用(下欄に記入）"]
[]
["―認定書等―"]
["性能表示事項",{"$nulls":4},"種別",{"$nulls":11},"番号",{"$nulls":11},"認定書等添付状況"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]
[{"$nulls":5},"□","型式",null,null,"□","認証",null,null,"□","特認",{"$nulls":14},"□","添付",null,null,"□","表紙のみ添付"]